![COMMISSION ACTION MATRIX – Yellow                                                            AGENCY: THE DEPARTMENT OF HOUSING AND COMMUNITY DEVELOPMENT [HCD 02/18]  CALIFORNIA PLUMBING CODE CCR, TITLE 24, PART 5 (2018 UPC)  LEGEND:  Item numbers refer to those presented to the Code Advisory Committees (CAC)s (CAC)s: ACCESS = Accessibility  BFO = Building, Fire & Other  HF = Health Facilities  PEME = Plumbing, Electrical, Mechanical, and Energy SDLF = Structural Design/Lateral Forces  GB = Green Building  CAC Actions: AA = Approve as amended AS = Approve as submitted D = Disapprove  FS = Further Study  Agency Response: A = Accept           D = Disagree W/D = Withdraw  Amendments, if indicated by agency S = Statutory E = Existing N = New  Matrix Paper Color (Used for Comm. Action Only): GREEN = uncontested items YELLOW = challenged items SALMON = W/D, no action required ]()

**PLUMBING, ELECTRICAL, MECHANICAL, AND ENERGY (PEME) CODE ADVISORY COMMITTEE (HCD)**

**CHAPTER 1 – ADMINISTRATION – DIVISION I – *CALIFORNIA ADMINISTRATION***

HCD proposes to bring forward existing amendments in Chapter 1, Division 1, from the 2016 California Plumbing Code for adoption into the 2019 California Plumbing Code with modifications as follows:

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number 1** | **Code Section** | **Type of amend-****ment****(S, E, N)** | **CAC:****(AS, AA,****D, FS,** **STFS)** | **Agency Response to CAC****(A, D, W/D)** | **45-Day Comments****(AS, AA, D, FS)** | **Annotations** | **CBSC Action (AS, AA, D, FS)** |
|  | ***1.8.1*** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA | Add language that promotes water efficiency (HCD did not accept comment—see FSOR) |  |

**CHAPTER 15 – ALTERNATE WATER SOURCES FOR NONPOTABLE APPLICATIONS**

HCD proposes to adopt Chapter 15 from the 2018 UPC into the 2019 CPC with new and existing amendments as follows. HCD proposes to not adopt Sections 1501.5.2; 1502.3.4; 1503.9.5-1503.9.7; 1505; and Table 1501.5

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number 16** | **Code Section** | **Type of amend-****ment****(S, E, N)** | **CAC:****(AS, AA,****D, FS,** **STFS)** | **Agency Response to CAC****(A, D, W/D)** | **45-Day Comments****(AS, AA, D, FS)** | **Annotations** | **CBSC Action (AS, AA, D, FS)** |
|  | ***~~Intent~~*** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA;S. Bilson (ReWater Systems)Recommends: AA | Preserve and amend non-regulatory intent language (HCD did not accept comments—see FSOR for HCD response) |  |
|  | ***~~1501.2~~* 1501.2** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA | Amend section to align with 1601.2 (HCD did not accept comment—see FSOR) |  |
|  | **1502.3.2 (formerly 1501.11.2.2)** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA | Add exception to exempt specified clothes washers |  |
|  | **1503.1 (formerly 1502.1)** | E | **AS** | **A** | S. Bilson (ReWater Systems)Recommends: AA | Add specified exceptions (HCD did not accept comment—see FSOR for HCD response) |  |
|  | **1503.2 (formerly 1502.2)** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA | Amend section and add mulch basin (HCD did not accept comment—see FSOR) |  |
|  | **1503.2.2 &** **Exception (formerly 1502.2.2)** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA;S. Bilson (ReWater Systems)Recommends: AA | Amend section to remove “readily” relative to accessible locations; add specified exceptions (HCD did not accept comments—see FSOR for HCD response) |  |
|  | **1503.3 (formerly 1502.3)** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AAS. Bilson (ReWater Systems)Recommends: AA | Add exception to allow direct connections as specified (HCD did not accept comments—see FSOR for HCD responses) |  |

**CHAPTER 16 – NONPOTABLE RAINWATER CATCHMENT SYSTEMS**

HCD proposes to adopt Chapter 16 from the 2018 UPC into the 2019 CPC, with new and existing amendments as follows. HCD proposes to not adopt Sections 1601.5.2, 1605.3.4 and 1601.5.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number 17** | **Code Section** | **Type of amend-****ment****(S, E, N)** | **CAC:****(AS, AA,****D, FS,** **STFS)** | **Agency Response to CAC****(A, D, W/D)** | **45-Day Comments****(AS, AA, D, FS)** | **Annotations** | **CBSC Action (AS, AA, D, FS)** |
|  | **1601.7 (formerly 1601.6)** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA | Remove Exception 1 for consistency (HCD did not accept comment—see FSOR) |  |
|  | **1602.4** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA | Add “unprotected” to text for clarity (HCD did not accept comment—see FSOR) |  |
|  | **1602.9.4 (formerly 1602.9.3.1)** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA | Remove “subsurface” from exception (HCD did not accept comment (see FSOR for HCD response) |  |
|  | **TABLE 1602.9.6 (formerly 1602.9.4)** | E | **AS** | **A** | M. Wood (City of Santa Barbara)Recommends: AA | Modify table relative to drip irrigation, urinal and water closet flushing, clothes washing and trap priming (HCD did not accept comment—see FSOR for HCD response) |  |

**COMMENTS RECEIVED ON SECTIONS NOT PROPOSED FOR CHANGE BY HCD THIS CYCLE (no action required – for informational purposes only)**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number**  | **Code Section** | **Type of amend-****ment****(S, E, N)** | **CAC:****(AS, AA,****D, FS)** | **Agency Response to CAC****(A, D, W/D)** | **45-Day Comments****(AS, AA, D, FS)** | **Annotations** | **CBSC Action (AS, AA, D, FS)** |
| No Item Number | **1.8.4.1** | **-** | **-** | **-** | S. Bumbalov (HCD)Recommends: AA | Add new exception regarding retroactive permits (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **CHAPTER 2 DEFINITIONS:** Laundry only greywater sys- tem; Tier 2 system; Tier 3 system | **-** | **-** | **-** | M. Wood (Santa Barbara)Recommends: AA | Adopt new definitions and amend section (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **601.3.2** | **-** | **-** | **-** | P. Weghorst (IRWD)Recommends: AA | Update “do not drink” symbol to match Chapter 15 (HCD did not accept comment—see FSOR for response) |  |
| No Item Number | **UPC Section 715.3** | **-** | **-** | **-** | J. Carroll (NASSCO)Recommends: D | The commenter suggests California not adopt the new UPC language in 715.3 (HCD did not accept comment—see FSOR for response) |  |
| No Item Number | **CHAPTER 15** | **-** | **-** | **-** | S. Peters (Santa Monica) Recommends: D | General comment disapproving expansion of NSF-350 approved systems (HCD did not accept comment—see FSOR for response) |  |
| No Item Number | **CHAPTER 15** | **-** | **-** | **-** | P. Weghorst (IRWD)Recommends: AA | General comment to remove additional requirements for operation and maintenance manuals (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **CHAPTER 15** | **-** | **-** | **-** | P. Weghorst (IRWD)Recommends: AA | General comment to provide clarification relative to AHJ associated with multi-jurisdictional situations (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **CHAPTER 15** | **-** | **-** | **-** | P. Weghorst (IRWD)Recommends: AA | General comment to require reduced-pressure principle backflow prevention assemblies for specified residential applications (HCD did not accept comment—see FSOR for response) |  |
| No Item Number | **1502.3.2** | **-** | **-** | **-** | M. Wood (Santa Barbara)Recommends: AA | Add exception to exempt specified clothes washers (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **1503.2** | **-** | **-** | **-** | L. Allen (Greywater Action)Recommends: AA;M. Wood (Santa Barbara)Recommends: AA | Amend section (HCD did not accept comments—see FSOR for BSC response) |  |
| No Item Number | **1503.2.2** | **-** | **-** | **-** | M. Wood (Santa Barbara)Recommends: AA | Amend section (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **1503.8.1** | **-** | **-** | **-** | L. Allen (Greywater Action)Recommends: AA;M. Wood (City of Santa Barbara)Recommends: AA | Amend section (HCD did not accept comments—see FSOR for responses) |  |
| No Item Number | **1503.9.1** | **-** | **-** | **-** | L. Allen (Greywater Action)Recommends: AA | Amend section (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **TABLE 1504.2** | **-** | **-** | **-** | L. Allen (Greywater Action)Recommends: AA | Amend table (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number  | **1506.3** | **-** | **-** | **-** | M. Wood (Santa Barbara)Recommends: AA; M. Wood (City of Santa Barbara)Recommends: AA | Amend section (HCD did not accept comments—see FSOR for HCD responses) |  |
| No Item Number | **1506.7** | **-** | **-** | **-** | S. Bilson (ReWater Systems)Recommends: AA | Remove reference to NSF-350 (HCD did not accept comment—see FSOR for response) |  |
| No Item Number | **1602.4** | **-** | **-** | **-** | M. Wood (Santa Barbara)Recommends: AA | Amend section (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **1602.9.4** | **-** | **-** | **-** | M. Wood (Santa Barbara)Recommends: AA | Amend section (HCD did not accept comment—see FSOR for HCD response) |  |
| No Item Number | **APPENDIX A, Table A 103.1** | **-** | **-** | **-** | M. Wood (Santa Barbara)Recommends: AA | Amend table (HCD did not accept comment—see FSOR for HCD response) |  |