# COMMISSION ACTION MATRIX STRUCTURAL DESIGN/LATERAL FORCES (SD/LF) CODE ADVISORY COMMITTEE – JULY 16-17, 2024

## 2025 CALIFORNIA BUILDING CODE (CBC), TITLE 24, PART 2, 2024 INTERNATIONAL BUILDING CODE (IBC) AGENCY: CALIFORNIA BUILDING STANDARDS COMMISSION, BSC 05/24

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (…) indicate existing text remains unchanged

### ITEMS 1-8 ARE HEARD BY BFO CODE ADVISORY COMMITTEE CHAPTERS 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13 AND 14

### ITEM 9, CHAPTER 15 ROOF ASSEMBLIES AND ROOF TOP STRUCTURES

Adopt 2024 IBC Chapter 15 and bring forward existing amendments from 2022 CBC to 2025 CBC with modifications in sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 05/24 ITEM 9** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **9-1** | ***1511.~~9~~ 10*** ***Photovoltaic (PV) panel systems.*** |  |  |  | Renumber this section and revise the language removing unnecessary duplications and clarifying requirements for manufacturer’s instructions. |  |
| **9-2** | ***1511.~~9.1~~ 10.1******Design ~~Installation~~.*** |  |  |  | Renumber this section, add BSC banner and revise the language clarifying requirements for the design of PV panel systems. |  |

### ITEM 10, CHAPTER 16 STRUCTURAL DESIGN

Adopt 2024 IBC Chapter 16 and bring forward existing amendments from 2022 CBC to 2025 CBC without change.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 05/24 ITEM 10** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **10-1** | **Chapter 16** |  |  |  | Adopt 2024 IBC Chapter 16 and bring forward existing 2022 CBC amendments without change. |  |

### ITEM 11, CHAPTER 17 SPECIAL INSPECTIONS AND TESTS

Adopt 2024 IBC Chapter 17 and bring forward existing amendments from 2022 CBC to 2025 CBC with modifications in sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 05/24 ITEM 11** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **11-1** | **1704.2.3 Statement of special inspections.** |  |  |  | Repeal the existing amendment which clarified that Section 107.1 is in Chapter 1, Division II of CBC*.* |  |

### ITEM 12, CHAPTERS 18, 19, 20, 21, 22, 23, 24, 25 AND 26

Adopt 2024 IBC Chapters 18, 19, 20, 21, 22, 23, 24, 25 and 26 without amendments.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 05/24 ITEM 12** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **12-1** | **Chapters 18, 19, 20, 21, 22, 23, 24, 25 and 26** |  |  |  | Adopt 2024 IBC Chapters 20, 21, 23, 24, 25 and 26 without amendments. |  |

### ITEMS 13-18 ARE HEARD BY BFO CODE ADVISORY COMMITTEE CHAPTERS 27, 28, 29, 30, 31, 32, 33, 34, 35 AND APPENDICES A, B, C, D, E, F, G, H, I, J, K, L, M, N, O AND P