# COMMISSION ACTION MATRIX – GREEN green building sTANDARDS (green) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA GREEN BUILDING STANDARDS CODE, TITLE 24, PART 11 (calgreen) AGENCY: CALIFORNIA BUILDING STANDARDS COMMISSION, BSC 03/24

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

* Existing California amendments appear upright
* Amended or new California amendments appear underlined
* Repealed California language appears ~~upright and in strikeout~~
* Ellipses (…) indicate existing text remains unchanged

**ITEM 4  
5.106.5.3.2** **Electric vehicle charging stations (EVCS)**

Amend Section 5.106.5.3.2 subsections as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 03/24 Item Number 4** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **4-3** | **5.106.5.3.2.~~2~~ 4,**  **5.106.5.3.2.4.1 Raceway Capacity Requirements.** | **Approve** | **Accept** | **45-day:**  D. Leung; California Energy Commission (CEC). Recommends: **Approve**  K Cunningham and California Energy Codes and Standards (CASE) Team. Recommends: **Approve**  K. Corby; CalETC.  Recommends: **Approve**  **Public Hearing:**  M. Zebiak: 2050 partners and CASE Team. Recommends: **Approve** | Renumber Section 5.106.5.3.2.2 to 5.106.5.3.2.4. Add new section to address Raceway Capacity Requirements. |  |

**ITEM 6  
SECTION 5.106.5.3.6 Electric vehicle charging stations (EVCS)** **–power allocation method**

Add Subsections to Section 5.106.5.3.6 as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 03/24 Item Number 6** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **6-1** | **5.106.5.3.6.1 Receptacle configurations.** | **Approve** | **Accept** | **45-day:**  D. Leung; CEC. Recommends: **Approve** | Add new section to specify NEMA standard charging receptacles. |  |
| **6-3** | **5.106.5.3.6.3 Raceway Capacity Requirements.** | **Approve** | **Accept** | **45-day:**  D. Leung; CEC. Recommends: **Approve**  **Public Hearing:**  M. Zebiak: 2050 Partners and CASE Team. Recommends: **Approve** | Add new section to address Raceway Capacity Requirements. |  |

**ITEM 8  
*DIVISION 5.3 – WATER EFFICIENCY AND CONSERVATION*, SECTION 5.503 INDOOR WATER USE**

Amend Section 5.503.3.4.6 as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 03/24 Item Number 8** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **8-1** | **5.303.3.4.6 Pre-rinse spray valves, “FOR REFERENCE ONLY”, and TABLE**  **H-2 and reference to Title 20 Pre-rinse spray valve.** | **Approve** | **Accept** | No comments received | Amend this section to reference to the California Plumbing Code for pre-rinse spray valve requirements. Repeal “FOR REFERENCE ONLY”, TABLE  H-2 and the reference to Title 20. |  |

**ITEM 9  
*DIVISION 5.5 – ENVIRONMENTAL QUALITY*, SECTION 5.504 POLLUTANT CONTROL**

Amend Section 5.504.1 as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 03/24 Item Number 9** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **9-1** | **5.504.1 Temporary ventilation.** | **Approve** | **Accept** | No comments received | Update requirements for the installation of return air filters used during construction for temporary ventilation. |  |

### ITEM 10 SECTION 5.506 INDOOR AIR QUALITY

Add Section 5.506.4 as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 03/24 Item Number 10** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **10-1** | **5.506.4 Carbon dioxide (CO2) monitoring in classrooms.** **[BSC-CG]** | **Approve** | **Disagree** | No comments received | Add new section to address requirements for installing CO2 monitoring in classrooms for new construction, additions, and alterations.  **POST CAC:** BSC has made editorial revisions in coordination with DSA. See ET and ISOR for changes. |  |

**ITEM 11  
CHAPTER 6 REFERENCED ORGANIZATIONS AND STANDARDS  
SECTION 601 GENERAL**

Amend table in Section 601.1 as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 03/24 Item Number 11** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **11-1** | **Section 601.1 ASHRAE,**  **~~52.1-92~~**  **52.2-~~2007~~ 2017**  **~~62.2~~**  **~~90.1~~** | **Approve** | **Accept** | No comments received | Repeal and amend referenced ASHRAE standards. |  |

### Item 14 *DIVISION A5.6 – VOLUNTARY TIERS,* TABLE A5.601 NONRESIDENTIAL BUILDINGS: Green Building Standards Code Proposed Performance Approach

Amend Table A5.601 for the 2025 *CALGreen* as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 03/24 Item Number 14** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **14-1** | **TABLE A5.601,**  **Division 5.1 & Division 5.4** | **Approve** | **Accept** | No comments received | Update this table to align with the approved amendments made during the 2022 Intervening Code Cycle. |  |

### Item 15 SECTIONS A5.602 through A5.602.2 CALGreen VERIFICATION GUIDELINES MANDATORY and VOLUNTARY MEASURES CHECKLISTS

Amend Verification Guidelines Checklists as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **BSC 03/24 Item Number 15** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **15-1** | **TABLE A5.602 *CALGreen* VERIFICATION GUIDELINES MANDATORY MEASURES CHECKLIST** | **Approve** | **Accept** | No comments received | Update *Division 5.1 & Division 5.5* code section references in the Mandatory Measures Checklist based on the proposed amendments during the 2024 Triennial Code Adoption Cycle. |  |
| **15-2** | **TABLE A5.602.1 *CALGreen* VERIFICATION GUIDELINES**  **TIER 1 CHECKLIST** | **Approve** | **Accept** | No comments received | Update *Division 5.1 & Division 5.5* code section references in the Tier 1 Checklist based on the proposed amendments during the 2024 Triennial Code Adoption Cycle. |  |
| **15-3** | **TABLE A5.602.2 *CALGreen* VERIFICATION GUIDELINES**  **TIER 2 CHECKLIST** | **Approve** | **Accept** | No comments received | Update *Division 5.1 & Division 5.5* code section references in the Tier 2 Checklist based on the proposed amendments during the 2024 Triennial Code Adoption Cycle. |  |