APPROVED BY THE CALIFORNIA BUILDING STANDARDS COMMISSION
December 17, 2024

# COMMISSION ACTION MATRIX – SOS Filinggreen building sTANDARDS (green) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA GREEN BUILDING STANDARDS CODE, TITLE 24, PART 11 (calgreen)AGENCY: DIVISION OF THE STATE ARCHITECT, DSA-SS 03/24

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

* Existing California amendments appear upright
* Amended or new California amendments appear underlined
* Repealed California language appears ~~upright and in strikeout~~
* Ellipses (…) indicate existing text remains unchanged

**ITEM 1
CHAPTER 5 NONRESIDENTIAL MANDATORY MEASURES
*DIVISION 5.3 – WATER EFFICIENCY AND CONSERVATION*, SECTION 5.503 INDOOR WATER USE**

Amend Subsection 5.303.3.4.6 as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 03/24ITEM 1** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **1-1** | **5.303.3.4.6 Pre-rinse spray valve.** | **Approve** | **Accept** | **45-day:** No comments received  | Amend this section to update requirements for the installation of pre-rinse spray valves and reference to the *California Plumbing Code*, Section 420.3. | **Approve** |

**ITEM 2
CHAPTER 5 NONRESIDENTIAL MANDATORY MEASURES
*DIVISION 5.5 ENVIRONMENTAL QUALITY*, SECTION 5.506.3** **Carbon dioxide (CO2) monitoring in classrooms. [DSA-SS]**

Amend Section 5.506.3 as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 03/24ITEM 2** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **2-1** | **5.506.3 Carbon dioxide (CO2) monitoring in classrooms.** | **Approve** | **Disagree** | **45-day:** No comments received | Amend existing language repealing reference to the California Energy Code Table 120.1-A and clarifying requirements for recorded sensor readings. **POST CAC:** DSA made an editorial revision to verbiage. | **Approve** |