APPROVED BY THE CALIFORNIA BUILDING STANDARDS COMMISSION

DECEMBER 17, 2024

# COMMISSION ACTION MATRIX plumbing, electrical, mechanical & energy (peme) code advisory committee

## 2025 california plumbing Code, TITLE 24, PART 5, 2024 uniform plumbing code AGENCY: department of water resources (dwr 01/24)

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses ( ...) indicate existing text remains unchanged

### ITEM 1, Chapter 1 administration division i, california administration

Carry forward existing amendments from the 2022 CPC into the 2025 CPC without modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DWR 01/24**  **Item Number 1** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 1 | **Sections *1.13.0 – 1.13.2*** | **Approve** | **Accept** | No Public Comments Received | Carry forward existing amendments from the 2022 into the 2025 CPC without modifications. | **Approve** |

### ITEM 2, Chapter 2 definitions

Carry forward existing amendments from the 2022 CPC into the 2025 CPC without modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DWR 01/24**  **Item Number 2** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 2 | **206.0 & 220.0** | **Approve** | **Accept** | No Public Comments Received | Carry forward existing amendments. | **Approve** |

### ITEM 3, Chapter 6 water supply and distribution

Carry forward existing amendments Sections 601.2 and 601.3.3 from the 2022 CPC into the 2025 CPC without modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DWR 01/24**  **Item Number 3** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 3 | **601.2 Water Supply and Flushing**  **601.3.3 Alternate Water Sources** | **Approve** | **Accept** | No Public Comments Received | Carry forward existing amendments | **Approve** |

### ITEM 4, Chapter 15 alternate water sources for nonpotable applications

Adopt Section 1501.4, 1501.5.1, 1501.8, 1501.10, 1502.0, 1502.5, 1502.5.1, 1502.5.2, 1502.6 from the 2024 UPC and carry forward existing amendments from the 2022 CPC Sections 1501.1, 1501.1.1, 1501.2, 1501.3, 1502.1 & Exception, 1503.3 & Exceptions into the 2025 CPC with modifications as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DWR 01/24**  **Item Number 4** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 4-1 | **1501.5 Maintenance and Inspection** | **Approve** | **Accept** | No Public Comments Received | The purpose is to properly conform cross-referenced section numbers to sections that are renumbered in the 2024 UPC. | **Approve** |
| 4-2 | **1501.6** (5) **Operation and Maintenance Manual** | **Approve** | **Accept** | No Public Comments Received | The purpose is to properly conform cross-referenced section numbers to sections that are renumbered in the 2024 UPC. | **Approve** |
| 4-3 | **1501.7**(2) **Minimum Water Quality Requirements** | **Approve** | **Accept** | No Public Comments Received | The purpose is to properly conform cross-referenced section numbers to sections that are renumbered in the 2024 UPC. | **Approve** |
| 4-4 | ***1501.9 Signage*** | **Approve** | **Accept** | No Public Comments Received | The purpose is to properly conform cross-referenced section numbers to sections that are renumbered in the 2024 UPC. | **Approve** |
| 4-5 | **1502.1 General** | **Approve** | **Accept** | No Public Comments Received | The purpose is to properly conform cross-referenced section numbers to sections that are renumbered in the 2024 UPC. | **Approve** |
| 4-6 | **1502.4 Separation Requirements** | **Approve** | **Accept** | No Public Comments Received | The purpose is to properly conform cross-referenced section numbers to sections that are renumbered in the 2024 UPC. | **Approve** |

### ITEM 5, Chapter 15 alternate water sources for nonpotable applications

Carry forward existing amendments from the 2022 CPC into the 2025 CPC with modification as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DWR 01/24**  **Item Number 5** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 5-1 | **1505.1 General** | **Approve** | **Accept** | No Public Comments Received | DWR proposes to amend section with updated referenced section number and add the new guidebook – “State Water Resources Control Board’s Cross-Connection Control Policy Handbook.” | **Approve** |
| 5-2 | **1505.4 Connections to Potable or Recycled Water *Supply* Systems** | **Approve** | **Accept** | No Public Comments Received | DWR proposes to amend section with updated referenced section number, repeal existing text in exception (4) add new text that addresses the swivel ell and the new guidebook - the “State Water Resources Control Board’s Cross-Connection Control Policy Handbook.” | **Approve** |
| 5-3 | **1505.5 Water Pressure** | **Approve** | **Accept** | No Public Comments Received | DWR proposes to adopt section without amendment. | **Approve** |
| 5-4 | **~~1505.5~~ 1505.6, *~~1505.8.2~~ 1505.9.2*, ~~1505.9~~ 1505.10, Figure ~~1505.9~~ 1505.10, ~~1505.10~~ 1505.11, ~~1505.12~~ 1505.13, ~~1505.13~~ 1505.14, *~~1505.13.2.2~~ 1505.14.2.2,* *~~1505.13.2.3~~ 1505.14.2.3*, *~~1505.13.2.4~~ 1505.14.2.4*, *~~1505.15~~ 1505.16*, *Table ~~1505.15~~ 1505.16,*** | **Approve** | **Accept** | No Public Comments Received | DWR proposes to renumber the sections, and to update the cross-referenced sections to accommodate the addition of a new 2024 UPC section.  **Commission** ask DWR to remove “s” in Section 1505.10 “Hose Bibs” for the word “differ.” This is model code language. | **Approve** |
| 5-5 | ***~~1505.13.2~~ 1505.14.2 Cross-Connection Inspection and Testing*** | **Approve** | **Accept** | No Public Comments Received | DWR proposes to renumber the section, and to update the cross-referenced sections to accommodate the addition of a new 2024 UPC section and to add the SWRCB Cross Connection Control Policy Handbook. | **Approve** |
| 5-6 | **~~1505.6~~ 1505.7, ~~1505.7~~ 1505.8, *~~1505.8.1~~ 1505.9.1, ~~1505.11~~ 1505.12, ~~1505.12.1~~ 1505.13.1, ~~1505.12.2~~ 1505.13.2, ~~1505.12.3~~ 1505.13.3, ~~1505.13.1~~ 1505.14.1, ~~1505.13.2.1~~ 1505.14.2.1, ~~1505.14~~ 1505.15*** | **Approve** | **Accept** | No Public Comments Received | The purpose is to properly conform cross-referenced section numbers to sections that are renumbered in the 2024 UPC. | **Approve** |
| 5-7 | **~~1505.8~~ 1505.9 Valves** | **Approve** | **Accept** | No Public Comments Received | The purpose is to properly conform cross-referenced section numbers to sections that are renumbered in the 2024 UPC. | **Approve** |

### ITEM 6, Chapter 15 alternate water sources for nonpotable applications,

Carry forward existing amendment in Chapter 15, Section 1506.4 from the 2022 CPC into the 2025 CPC without modification.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DWR 01/24**  **Item Number 6** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 6 | **1506.4 Connections to Potable or Recycled Water *Supply* Systems** | **Approve** | **Accept** | No Public Comments Received | Carry forward existing amendment. | **Approve** |

### ITEM 7, Chapter 16 nonpotable rainwater catchment systems

Carry forward existing amendment in Chapter 16, Section 1602.4 from the 2022 CPC into the 2025 CPC without modification.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DWR 01/24**  **Item Number 7** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 7 | **1602.4 Connections to Potable or Reclaimed (Recycled) Water Systems** | **Approve** | **Accept** | No Public Comments Received | Carry forward existing amendment. | **Approve** |