# COMMISSION ACTION MATRIX – YELLOW PLUMBING, ELECTRICAL, MECHANICAL & ENERGY (PEME) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA ELECTRICAL CODE, TITLE 24, PART 3, 2023 NATIONAL ELECTRICAL CODE AGENCY: dEPARTMENT OF HOUSING AND COMMUNITY DEVELOPMENT, HCD 01/23

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (…) indicate existing text remains unchanged

### ITEM 4, Chapter 2 – Wiring and protection

Adopt Chapter 2 of the 2023 NEC, carry forward existing amendments and add new amendment as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HCD 01/23 Item Number 4** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 4-1 | **210.8 Ground-Fault Circuit-Interrupter Protection for**  **Personnel.** | **Approve** | **Accept** | **45-Day Public Comment Period:**  Bryce Nesbitt – Recommend: Amend.  Mike Stone-NEMA – Recommend: Disapprove.  Randall Cooper – Recommend: Amend. | HCD proposes to amend Section 210.8 to delete the expiration date of Exception No. 2.  HCD has decided not to make any additional amendments as suggested by the commenters |  |