# COMMISSION ACTION MATRIX - YELLOw plumbing, electrical, mechanical & energy (peme) CODE ADVISORY COMMITTEE

## 2025 california mechanical code, TITLE 24, PART 4, 2024 uniform mechanical code AGENCY: DEPARTMENT OF HEALTH CARE ACCESS AND INFORMATION/office of statewide hospital planning and development, OSHPD 01/24

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (…) indicate existing text remains unchanged

### ITEM 5, Chapter 4, Section 407.0 Ventilation System Details

Carry forward existing Chapter 4 amendments from the 2022 CMC into the 2025 CMC with modification as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 01/24**  **Item Number 5** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 5-16 | ***407.5.1.3*** | **Approve** | **Accept** | **15-Day Public Comment:** D. Mason Recommends**: Disapprove** | HCAI proposes to modify existing section add clarifying language for the modulating dampers are provided to maintain space pressurization.  **HCAI:** No changes to Final ET, see FSOR. |  |
| 5-17 | ***407.5.1.4*** | **Approve** | **Accept** | **45-Day Public Comment:** T. English Recommends: **Disapprove**  **15-Day Public Comment:** T. English, D. Mason, A. Barolin, C. Briggs  Recommend: **Disapprove** | HCAI proposes new section to indicate the modulating damper is required for supply and return air.  **HCAI:** Revisions proposed in the 15-day ET and no changes to Final ET, see FSOR. |  |
| 5-18 | ***407.5.1.5*** | **Approve** | **Accept** | **45-Day Public Comment:** T. English Recommends**: Disapprove**  **15-Day Public Comment:** T. English, D. Mason, A. Barolin, C. Briggs  Recommend: **Disapprove** | HCAI proposes new section to indicate group allowances for spaces that do not require space pressurization.  **HCAI:** Revisions proposed in the 15-day ET and no changes to Final ET, see FSOR. |  |

### ITEM 8, Chapter 4, TABLE 4-A

Carry forward existing Chapter 4 amendments from the 2022 CMC into the 2025 CMC with modification as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 01/24**  **Item Number 8** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| 8-1 | ***Table 4-A and Notes*** | **Approve** | **Accept** | **45-Day Public Comment**: J. Panushka Recommends: **Amend**  **15-Day Public Comment**: J. Panushka Recommends: **Amend** | HCAI proposes to repeal all items within Table 4-A and replace with ASHRAE Standard 170-2021  **HCAI:** Revisions proposed in the 15-day ET and Final ET, see FSOR. |  |