# COMMISSION ACTION MATRIX – YELLOWplumbing, ELECTRICAL, MECHANICAL & energy (peme) CODE ADVISORY COMMITTEE

## 2025 california electrical CODE TITLE 24, PART 3, 2023 national electrical codeAGENCY: state fire marshal, sfm 01/23

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (…) indicate existing text remains unchanged

### ITEM 4, Chapter 2 – wiring and protection

Adopt Chapter 2 (Articles 200, 210, 215, 220, 225, 230, 235, 240, 242, 245 and 250) of the 2023 NEC and repeal existing amendment as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **SFM 01/23Item Number 4** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| 4-0 | **210.8 Ground-Fault Circuit-Interrupter Protection for Personnel** | **N/A** | **N/A** | **45-Day Public Comment Period:**Mike Stone-NEMA – Recommend: Disapprove.Randall Cooper – Association of Home Appliance Manufacturers – Recommend: Approve as Amended. | **POST CAC:** The proposal was added here after it was heard at the CAC hearing for HCD and recommended to be coordinated between HCD and SFM. SFM is co-adopting the strikeout of the September 1, 2026, expiration date from Exception No. 2. |  |