# COMMISSION ACTION MATRIX – YELLOW HEALTH FACILITIES (HF) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA BUILDING CODE (CBC), TITLE 24, PART 2, Volume 1, 2024 INTERNATIONAL BUILDING CODE (IBC), AGENCY: Department of Health care Access and INFORMATION/OFFICE OF STATEWIDE hospital PLANNING AND DEVELOPMENT, OSHPD 04/24

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (…) indicate existing text remains unchanged

### ITEM 1 CHAPTER 1 SCOPE AND ADMINISTRATION, DIVISION ICALIFORNIA ADMINISTRATION

Carry forward existing amendments from the 2022 CBC into the 2025 CBC Chapter 1, Division I with modifications in sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 04/24 ITEM 1** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **1-1** | ***1.1.3.2 State-regulated buildings, structures and applications*** | **Further Study Required** | **Accept** | 45-day Public Comment:  Mia Marvelli – Approve as amended | Amend to replace “Health” with “Hospital” to align with name change.  **CAC: 9** **Point Criteria # 6** HCAI requested Further Study recommendation to address editorial issues.  **OSHPD:** OSHPD/HCAI clarified HCAI is the department and OSHPD is the office within HCAI. |  |