APPROVED BY THE CALIFORNIA BUILDING STANDARDS COMMISSION   
FEBRUARY 26, 2025

# COMMISSION ACTION MATRIX STRUCTURAL DESIGN / LATERAL FORCES (SDLF) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2, 2024 INTERNATIONAL BUILDING CODE (IBC) AGENCY: DIVISION OF THE STATE ARCHITECT, DSA-SS 05/24

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code or reference standard language appears upright
* Existing California amendments appear in *italic*
* Amended model code or reference standard language, or new California amendments appear *underlined & italic*
* Reference standard language included in new California amendments appears underlined & upright if unchanged
* Repealed model code or reference standard language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (…) indicate existing text remains unchanged

### ITEM 1 Chapter 1, SCOPE AND ADMINISTRATION

Adopt Chapter 1 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 1** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **1-1** | ***1.9.2.1.1 Applicable administrative standards.*** | **Approve** | **Disagree** | No Public Comments Received | Editorial change.  **Post CAC:** DSA made editorial corrections for section reference pointers. | **Approve** |
| **1-2** | ***1.9.2.1.3 Identification of amendments.*** | **Approve** | **Accept** | No Public Comments Received | Editorial change. | **Approve** |
| **1-3** | ***1.9.2.1.4 Reference to other chapters.*** | **Approve** | **Accept** | No Public Comments Received | Updating reference to California Building Code. | **Approve** |
| **1-4** | ***1.9.2.2.1 Applicable administrative standards.*** | **Approve** | **Disagree** | No Public Comments Received | Editorial change.  **Post CAC:** DSA made editorial corrections for section reference pointers. | **Approve** |
| **1-5** | ***1.9.2.2.3 Identification of amendments.*** | **Approve** | **Accept** | No Public Comments Received | Revision to clarify “identification of amendments” and added banner for adopting agency. | **Approve** |
| **1-6** | ***1.9.2.2.4 Reference to other chapters.*** | **Approve** | **Accept** | No Public Comments Received | Updating reference to California Building Code. | **Approve** |
| **1-7** | **104.2.3** **Alternative materials, …** | **Further Study Required** | **Accept** | No Public Comments Received | Add amendment to prohibit the use of exception.  **CAC:** Criteria 6,CAC suggests clarification of language.  **DSA SS:** Language revised. | **Approve** |
| **1-8** | **104.2.3.3 Compliance with code intent.** | **Approve** | **Accept** | No Public Comments Received | Amendments relocated. | **Approve** |

### ITEM 2 Chapter 2, DEFINITIONS

Adopt Chapter 2 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 2** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **2-1** | ***~~NEXT GENERATION ATTENUATION WEST 2~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal definition as it is no longer used in the code. | **Approve** |
| **2-2** | ***~~PERIODIC SPECIAL INSPECTION.~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal definition as it is now provided as a subitem to “SPECIAL INSPECTION”. | **Approve** |
| **2-3** | **PUBLIC-OCCUPANCY TEMPORARY STRUCTURE.** | **Further Study Required** | **Accept** | No Public Comments Received | Add amendment to clarify that this does not apply to school buildings.  **CAC:** Criteria 6CAC suggests modifying language.  **DSA SS:** Language revised. See ISOR | **Approve** |
| **2-4** | **SPECIAL INSPECTION.** | **Approve** | **Accept** | No Public Comments Received | Revise amendment. | **Approve** |

### ITEM 3 Chapters 3-10 and 12

Adopt Chapters 3-10 and 12 of 2024 IBC without amendment.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 3** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **3-1** | **Chapters 3-10, 12** | **Approve** | **Accept** | No Public Comments Received | Adopt Chapters 3-10 and 12 of 2024 IBC without amendment. | **Approve** |

### ITEM 4 Chapter 14, EXTERIOR WALLS

Adopt Chapter 14 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 4** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **4-1** | ***1404.1.2*** ***~~1404.1.1~~ Additional requirements.*** | **Approve** | **Accept** | No Public Comments Received | Amendment renumbered and pointers revised. | **Approve** |
| **4-2** | ***1413 ~~1410~~*** | **Approve** | **Accept** | No Public Comments Received | Section and all the subsections renumbered.  **DSA (45-Day):** DSA determined terminology should be clarified to remove “masonry” from adhered veneer.  Amendment made to section for clarity. | **Approve** |
| **4-3** | ***1413.2 ~~1410.2~~ Adhered veneer.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered and editorial modifications. | **Approve** |
| **4-4** | ***1413.2.1 ~~1410.2.1~~ Bond strength and tests.*** | **Approve** | **Accept** | No Public Comments Received | Amendment renumbered. Language revised. No material changes.  **DSA (45-Day):** DSA determined terminology should be clarified to remove “masonry” from adhered veneer.  Amendment made to section for clarity. | **Approve** |
| **4-5** | ***1413.2.2 TMS 402 Section 13.3.2.2.*** | **Approve** | **Accept** | No Public Comments Received | New section added to revise TMS 402. | **Approve** |

### ITEM 5 Chapter 15, ROOF ASSEMBLIES AND ROOFTOP STRUCTURES

Adopt Chapter 15 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 5** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **5-1** | ***1511.10 ~~1511.9~~ Photovoltaic (PV) panel systems.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered. Remove unnecessary duplications and clarify requirements for manufacturer’s instructions. | **Approve** |
| **5-2** | ***1511.10.1 ~~1511.9.1~~ Design ~~Installation~~.*** | **Approve** | **Accept** | No Public Comments Received | Section renumbered. Editorial changes to clarify requirements for the design of PV panel systems. | **Approve** |

### ITEM 6 Chapter 16, STRUCTURAL DESIGN

Adopt Chapter 16 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 6** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **6-1** | ***1601.1.2*** | **Approve** | **Accept** | No Public Comments Received | Editorial changes. | **Approve** |
| **6-2** | ***1601.1.3*** | **Approve** | **Accept** | No Public Comments Received | Added section. | **Approve** |
| **6-3** | ***1601.1.4 ~~1601.1.3~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section. | **Approve** |
| **6-4** | ***1601.1.5 ~~1601.1.4~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section and editorial amendment. | **Approve** |
| **6-5** | ***~~1617.2.1.4 Analysis.~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal existing amendment. | **Approve** |
| **6-6** | ***1617.2.2 ~~1617.2.1.3~~ Risk Category ...*** | **Approve** | **Accept** | No Public Comments Received | Relocated amendment. | **Approve** |
| **6-7** | ***1617.2.3 ~~1617.2.2~~ Structural walls.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section. | **Approve** |
| **6-8** | ***1617.2.4*** ***Photovoltaic (PV) panel systems.*** | **Further Study Required** | **Accept** | No Public Comments Received | New amendment language.  **CAC:** Criteria 6CAC suggests further study regarding clarification of risk category.  **DSA SS:** Language revised. | **Approve** |
| **6-9** | ***1617.3.1 Stability.*** | **Approve** | **Accept** | No Public Comments Received | Amendment language removed. | **Approve** |
| **6-10** | ***~~1617.3.3.1 ICC 300, Section 303.5.2.~~***  ***1617.3.3.1 ~~1617.3.3.2~~*** | **Approve** | **Disagree** | No Public Comments Received | Delete existing amendment. Renumber section. Revise language.  **Post CAC:** DSA made editorial updates. | **Approve** |
| **6-11** | ***1617.5.1.4 Item ~~37~~ 38***  ***1617.5.1.5* *Item ~~38~~ 39*** | **Approve** | **Accept** | No Public Comments Received | Items renumbered. | **Approve** |
| **6-12** | ***1617.5.3 Seating for assembly uses.*** | **Approve** | **Accept** | No Public Comments Received | Pointers revised. | **Approve** |
| **6-13** | ***1617.8 Soil loads.*** | **Approve** | **Accept** | No Public Comments Received | New section added. | **Approve** |
| **6-14** | ***1617.8.1 Lateral pressures.*** | **Approve** | **Accept** | No Public Comments Received | New section added. | **Approve** |
| **6-15** | ***1617.9 Flood loads.*** | **Approve** | **Accept** | No Public Comments Received | New section added. | **Approve** |
| **6-16** | ***1617.9.1 ~~1617.8~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered amendment. | **Approve** |
| **6-17** | ***1617.10 ~~1617.9~~ Earthquake loads.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered amendment. | **Approve** |
| **6-18** | ***~~1617.9.1 & 1617.9.2~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal existing amendments. | **Approve** |
| **6-19** | ***~~1617.9.3 & 1617.9.4~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal existing amendments. | **Approve** |
| **6-20** | ***1617.10.1 ~~1617.9.5~~ Determination of seismic design category.*** | **Approve** | **Accept** | No Public Comments Received | Relocated amendment. Revise language. | **Approve** |
| **6-21** | ***~~1617.9.5.1~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal existing amendments. | **Approve** |
| **6-22** | ***1617.10.2 ~~1617.9.5.2~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered and pointer revised. | **Approve** |
| **6-23** | ***1617.10.3 ~~1617.9.6~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered. | **Approve** |
| **6-24** | ***1617.11 ~~1617.10~~ Tsunami loads.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered. | **Approve** |
| **6-25** | ***1617.12 ~~1617.11~~ Modifications to ASCE 7.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered and pointer revised. | **Approve** |
| **6-26** | ***1617.12.1 ~~1617.11.1~~*** | **Further Study Required** | **Accept** | No Public Comments Received | Renumbered and language revised.  **CAC:** Criteria 6CAC suggests further study to align with ASCE 7, Section 31.6.  **DSA SS:** Language revised to include ASCE 7, Ch. 31.6 as well as ASCE 49 | **Approve** |
| **6-27** | ***~~1617.11.2 ASCE 7, Section 11.4.~~*** | **Approve** | **Accept** | No Public Comments Received | Amendment deleted. | **Approve** |
| **6-28** | ***1617.12.2 ~~1617.11.3~~*** | **Approve** | **Accept** | No Public Comments Received | Items renumbered. | **Approve** |
| **6-29** | ***~~1617.11.4 with subsections~~*** | **Approve** | **Accept** | No Public Comments Received | Amendments deleted. | **Approve** |
| **6-30** | ***~~1617.11.5, 1617.11.11, 1617.11.12, 1617.11.22~~ and ~~1617.11.23~~*** | **Approve** | **Accept** | No Public Comments Received | Reserved sections deleted. | **Approve** |
| **6-31** | ***1617.12.3 ~~1617.11.6~~***  ***1617.12.4 ~~1617.11.7~~***  ***1617.12.5 ~~1617.11.8~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered sections. | **Approve** |
| **6-32** | ***1617.12.6 ~~1617.11.9~~ ASCE 7, Section 12.3.3.1.*** | **Approve** | **Accept** | No Public Comments Received | Section is revised to align with ASCE 7-22. | **Approve** |
| **6-33** | ***1617.12.7 ~~1617.11.10~~*** | **Approve** | **Accept** | No Public Comments Received | Item renumbered. | **Approve** |
| **6-34** | ***1617.12.8 ASCE 7, Section 12.10.2.1.*** | **Approve** | **Accept** | No Public Comments Received | Add new section. | **Approve** |
| **6-35** | ***1617.12.9 ~~1617.11.13~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered amendment. | **Approve** |
| **6-36** | ***1617.12.10 ASCE 7, Section 12.13.5.2.*** | **Approve** | **Accept** | No Public Comments Received | Add new section. | **Approve** |
| **6-37** | ***1617.12.11 ~~1617.11.14~~*** | **Approve** | **Accept** | No Public Comments Received | Amendment renumbered. Language revised. | **Approve** |
| **6-38** | ***1617.12.12 ~~1617.11.15~~ ASCE 7, Section 13.1.4.*** | **Further Study Required** | **Accept** | No Public Comments Received | Amendment renumbered. Language revised.  **CAC:** Criteria 6CAC suggests changing “it” to “they”. Exemption 3 should be “supports” instead of “support”.  **DSA SS:** Language revised. | **Approve** |
| **6-39** | ***1617.12.13 ~~1617.11.16~~***  ***1617.12.14 ~~1617.11.17~~***  ***1617.12.15 ~~1617.11.18~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered sections. | **Approve** |
| **6-40** | ***1617.12.16 ~~1617.11.19~~ ASCE 7, Section 13.6.7.3.*** | **Approve** | **Accept** | No Public Comments Received | Amendment renumbered. Language revised. | **Approve** |
| **6-41** | ***1617.12.17 ~~1617.11.20~~***  ***1617.12.18 ~~1617.11.21~~***  ***1617.12.19 ~~1617.11.22~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered sections. | **Approve** |

### ITEM 7 Chapter 16A, STRUCTURAL DESIGN

Adopt Chapter 16 of 2024 IBC as Chapter 16A of 2025 CBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 7** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **7-1** | **1604*A*.4 Analysis.** | **Approve** | **Accept** | No Public Comments Received | Repeal amendment. | **Approve** |
| **7-2** | **1604*A*.5.2 Photovoltaic (PV) panel systems.** | **Further Study Required** | **Accept** | No Public Comments Received | New amendment language.  **CAC:** Criteria 6CAC suggests changing “it” to “they”. Exemption 3 should be “supports” instead of “support”.  **DSA SS:** Language revised. | **Approve** |
| **7-3** | **1605*A*.1.1 Stability.** | **Approve** | **Accept** | No Public Comments Received | Repeal amendment. | **Approve** |
| **7-4** | ***~~1605A.3.1 ICC 300, Section 303.5.2.~~***  ***1605A.3.1 ~~1605A.3.2~~*** | **Approve** | **Disagree** | No Public Comments Received | Delete existing amendment. Renumber section. Revise language.  **Post CAC:** DSA made editorial updates. | **Approve** |
| **7-5** | **~~1607~~*~~A~~*~~.1 General.~~** | **Approve** | **Accept** | No Public Comments Received | Delete entire amendment. | **Approve** |
| **7-6** | **Table 1607A.1** | **Approve** | **Accept** | No Public Comments Received | Errata. Item renumbered. | **Approve** |
| **7-7** | ***1607A.14.4 ~~1607A.14.5~~*** | **Approve** | **Accept** | No Public Comments Received | Section renumbered. | **Approve** |
| **7-8** | **1607*A*.18 Seating for assembly uses.** | **Approve** | **Accept** | No Public Comments Received | Model section renumbered in 2024 IBC and amendment retain withing the renumbered section. | **Approve** |
| **7-9** | **1610*A*.1 Lateral pressures.** | **Approve** | **Accept** | No Public Comments Received | Section language revised. Added note. | **Approve** |
| **7-10** | **1613*A*.1 Scope.** | **Approve** | **Accept** | No Public Comments Received | Revise language. Exception is deleted. | **Approve** |
| **7-11** | **1613A.2 Determination of seismic design category.** | **Approve** | **Accept** | No Public Comments Received | Relocated language from 1613A.2.5 to this section. | **Approve** |
| **7-12** | **~~1613~~*~~A~~*~~.2.5 Determination of seismic design category~~ and ~~1613~~*~~A~~*~~.2.5.1~~** | **Approve** | **Accept** | No Public Comments Received | Model code deleted in 2024 IBC. Amendments in deleted sections relocated. | **Approve** |
| **7-13** | **1613*A*.3 Simplified design procedure.**  **1613*A*.4 Ballasted photovoltaic panel systems.** | **Approve** | **Accept** | No Public Comments Received | Section renumbered in 2024 IBC. No Change in existing amendment. | **Approve** |
| **7-14** | ***1617A.1 General.*** | **Approve** | **Accept** | No Public Comments Received | Revised pointer. | **Approve** |
| **7-15** | ***1617A.1.1 ASCE 7, Section 1.3.*** | **Further Study Required** | **Accept** | No Public Comments Received | Revised language to align with ASCE 7 Section 31.6.  **CAC:** Criteria 6CAC suggests further study based on coordination with OSHPD.  **DSA SS:** Language coordinated with OSHPD. | **Approve** |
| **7-16** | ***1617A.1.3 Reserved. ~~ASCE 7, Section 11.4.~~*** | **Approve** | **Accept** | No Public Comments Received | Amendment repealed. | **Approve** |
| **7-17** | ***1617A.1.4 ASCE 7, Table 12.2-1.*** | **Approve** | **Accept** | No Public Comments Received | Items renumbered. | **Approve** |
| **7-18** | ***1617A.1.5 Reserved. ~~ASCE 7, Section 12.2.3, 12.2.3.1 and 12.2.3.2.~~*** | **Approve** | **Accept** | No Public Comments Received | Amendments in Section 1617A.1.5 and its subsections repealed. | **Approve** |
| **7-19** | ***1617A.1.10 ASCE 7, Section 12.3.3.1.*** | **Approve** | **Accept** | No Public Comments Received | Section is revised to align with ASCE 7-22. | **Approve** |
| **7-20** | ***1617A.1.11*** | **Approve** | **Accept** | No Public Comments Received | Item renumbered. | **Approve** |
| **7-21** | ***1617A.1.12 ~~Reserved.~~ ASCE 7, Section 12.10.2.1.*** | **Approve** | **Accept** | No Public Comments Received | New amendment to clarify the exception. | **Approve** |
| **7-22** | ***1617A.1.13 ~~Reserved.~~ ASCE 7, Section 12.13.5.2.*** | **Approve** | **Accept** | No Public Comments Received | Add new amendment. | **Approve** |
| **7-23** | ***1617A.1.16*** | **Approve** | **Accept** | No Public Comments Received | Revised language for clarification. | **Approve** |
| **7-24** | ***1617A.1.18 ASCE 7, Section 13.1.4.*** | **Further Study**  **Required** | **Accept** | No Public Comments Received | Revised language.  **CAC:** Criteria 6CAC suggests changing “it” to “they”. Exemption 3 should be “supports” instead of “support”.  **DSA SS:** Language revised. | **Approve** |
| **7-25** | ***1617A.1.19 ASCE 7, Section 13.4*** | **Approve** | **Accept** | No Public Comments Received | Revise amendment to coordinate with updated ASCE 7. | **Approve** |
| **7-26** | ***~~1617A.1.23 ASCE 7, Section 13.6.2.1 and ASCE 7, Tables 13.5-1 and 13.6-1.~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal amendments. | **Approve** |
| **7-27** | ***1617A.1.26*** | **Approve** | **Accept** | No Public Comments Received | Reference to Rp value deleted. Other editorial changes. | **Approve** |
| **7-28** | ***1617A.1.37 ~~Reserved.~~*** ***ASCE 7, Section 18.3. ~~1617A.1.38~~*** | **Approve** | **Accept** | No Public Comments Received | Section renumbered. | **Approve** |

### ITEM 8 Chapter 17A, SPECIAL INSPECTIONS AND TESTS

Adopt Chapter 17 of 2024 IBC as Chapter 17A of 2025 CBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 8** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **8-1** | ***1701A.4*** | **Approve** | **Accept** | No Public Comments Received | Revised references. | **Approve** |
| **8-2** | **1704A.2.4 Report requirement.** | **Approve** | **Accept** | No Public Comments Received | Editorial changes to align with revised model code language. | **Approve** |
| **8-3** | **1704*A*.3 Statement of special inspections.** | **Approve** | **Accept** | No Public Comments Received | Add amendment to clarify that model code exception does not apply. | **Approve** |
| **8-4** | **1704*A*.4 Contractor responsibility.** | **Approve** | **Accept** | No Public Comments Received | Change amendment requiring statement of responsibilities on some projects. | **Approve** |
| **8-5** | **1704*A*.5 Submittals to the building official.** | **Approve** | **Accept** | No Public Comments Received | Adjusted language to clarify references and align with model code numbering. | **Approve** |
| **8-6** | **1705*A*.2.1 Structural steel.** | **Approve** | **Disagree** | No Public Comments Received | Removed reference to national standards and added clarifications of standards used in the state of California.  **Post CAC:** DSA revised Express Terms for consistency in coordination with the IBC language and references. See ISOR**.** | **Approve** |
| **8-7** | ***Table 1705A.2.1*** | **Approve** | **Accept** | No Public Comments Received | Adding DSA banner. Other minor editorial changes. | **Approve** |
| **8-8** | **1705*A*.2.2 Structural stainless steel.** | **Approve** | **Disagree** | No Public Comments Received | Adding amendments to address new model code section for structural stainless steel.  **Post CAC:** DSA revised Express Terms for consistency in coordination with the IBC language and references. See ISOR**.** | **Approve** |
| **8-9** | **1705*A*.2.3** **Cold-formed steel deck.** | **Approve** | **Accept** | No Public Comments Received | Delete previous amendment language. Propose deletion of model code language. Propose new amendments. | **Approve** |
| **8-10** | ***1705A.2.4.1 ~~1705A.2.3.1~~***  ***1705A.2.5.1 ~~1705A.2.4.1~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered sections with editorial amendments in Section 1705A.2.5.1. | **Approve** |
| **8-11** | ***1705A.2.7 ~~1705A.2.5~~***  ***1705A.2.8 ~~1705A.2.6~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered sections with editorial amendments. | **Approve** |
| **8-12** | ***1705A.2.9*** ***Special inspection and tests of cold-formed steel light-frame construction.*** | **Further Study**  **Required** | **Accept** | No Public Comments Received | New section added.  **CAC:** Criteria 6CAC suggests changing from "Quality assurance application of the following provisions of AISI…" to "The following provisions of AISA…"  **DSA SS:** Express Terms language revised. See ISOR. | **Approve** |
| **8-13** | **Table 1705*A*.3** | **Approve** | **Disagree** | No Public Comments Received | Various proposed amendments for renumbering, adjusting references and editorial changes.  **Post CAC:** DSA revised Table 1705A.3 for consistency in coordination with the IBC language and references. See ISOR**.** | **Approve** |
| **8-14** | **1705*A*.3.1** | **Approve** | **Accept** | No Public Comments Received | Revised pointer. | **Approve** |
| **8-15** | ***1705A.3.3 Batch plant inspection.*** | **Approve** | **Accept** | No Public Comments Received | Adding previously lacking minimum qualifications for batch plant inspectors. | **Approve** |
| **8-16** | ***1705A.3.3.1*** | **Approve** | **Accept** | No Public Comments Received | Reformatting listing for the first two items. | **Approve** |
| **8-17** | ***1705A.3.3.2 Batch plant inspection not required****.* | **Approve** | **Accept** | No Public Comments Received | Simplifying code language. Added item to clarify exemption for deep foundations. | **Approve** |
| **8-18** | **1705*A*.4 Masonry construction.** | **Approve** | **Accept** | No Public Comments Received | Provide a reference pointer to 1705A.3.3. | **Approve** |
| **8-19** | ***1705A.4.1.1 TMS 602 Section 1.6 Quality Assurance.*** | **Approve** | **Accept** | No Public Comments Received | Add amendment to modify footnote “d” from reference standard language. | **Approve** |
| **8-20** | **1705*A*.5.1** | **Approve** | **Accept** | No Public Comments Received | Revised references. | **Approve** |
| **8-21** | **Table 1705*A*.5.3** | **Approve** | **Accept** | No Public Comments Received | Provide pointer reference. | **Approve** |
| **8-22** | ***1705A.5.5*** | **Approve** | **Accept** | No Public Comments Received | Editorial change. Update reference pointer. | **Approve** |
| **8-23** | **1705*A*.6 Soils.** | **Approve** | **Accept** | No Public Comments Received | Proposing additional exceptions. | **Approve** |
| **8-24** | **1705A.12.2 Cold-formed steel …** | **Approve** | **Accept** | No Public Comments Received | Providing new reference pointer. | **Approve** |
| **8-25** | **1705*A*.13.1.1 and 1705A.13.1.2** | **Further Study**  **Required** | **Accept** | No Public Comments Received | Proposed amendment to align with proposed modifications and requirements in Section 1705A.2.1  **CAC:** Criteria 6CAC suggest changing from "Quality assurance application of the following provisions of AISI…" to "The following provisions of AISA…"  **DSA SS:** Express Termslanguage revised. See ISOR. | **Approve** |
| **8-26** | **1705A.13.3 Cold-formed steel …** | **Approve** | **Accept** | No Public Comments Received | Providing new reference pointer. | **Approve** |
| **8-27** | ***1705A.13.5.2*** | **Approve** | **Accept** | No Public Comments Received | Correcting reference pointer. | **Approve** |
| **8-28** | **1705*A*.14.1.1 and 1705A.14.1.2** | **Further Study**  **Required** | **Accept** | No Public Comments Received | Proposed amendment to align with proposed modifications and requirements in Section 1705A.2.1  **CAC:** Criteria 6CAC suggest changing from "Quality assurance application of the following provisions of AISI…" to "The following provisions of AISA…"  **DSA SS:** Language revised. | **Approve** |
| **8-29** | **1705*A*.14.2 Nonstructural Components.** | **Approve** | **Accept** | No Public Comments Received | Propose deleting references. Revise to include nationally recognized standards | **Approve** |

### ITEM 9 Chapter 18A, SOILS AND FOUNDATION

Adopt Chapter 18 of 2024 IBC as Chapter 18A of 2025 CBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 9** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **9-1** | ***1803A.6 Geohazard reports.*** | **Approve** | **Accept** | No Public Comments Received | Propose two editorial changes and one substantive change to the continued amendment of this section. | **Approve** |
| **9-2** | **1807*A.*2 Retaining walls.**  ***~~1807A.2.5 Freestanding cantilever walls.~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal reference pointer. Repeal Section 1807A.2.5 | **Approve** |
| **9-3** | **1807*A.*3 Embedded posts and poles.** | **Approve** | **Accept** | No Public Comments Received | Proposed clarifying amendment. | **Approve** |
| **9-4** | **1809*A.*1 General.** | **Approve** | **Accept** | No Public Comments Received | Proposed editorial change. | **Approve** |
| **9-5** | ***1809A.~~14~~15 Pipes and trenches.*** | **Approve** | **Accept** | No Public Comments Received | Previous amendment is continued but renumbered. | **Approve** |
| **9-6** | ***~~1809A.15 Grade beams.~~*** | **Approve** | **Accept** | No Public Comments Received | Proposed repeal of amendment. | **Approve** |
| **9-7** | **1810*A.*3.3.1.2 Load tests.** | **Approve** | **Accept** | No Public Comments Received | Proposed repeal of amendment. | **Approve** |
| **9-8** | **1810*A*.3.3.1.5** | **Approve** | **Accept** | No Public Comments Received | Proposed repeal of amendment. | **Approve** |
| **9-9** | **1810*A.*3.3.2 Allowable lateral load.** | **Approve** | **Accept** | No Public Comments Received | Proposed repeal of amendment. | **Approve** |
| **9-10** | **1810*A.*3.11.2** | **Approve** | **Accept** | No Public Comments Received | New amendment. | **Approve** |
| **9-11** | **1810*A.*3.12 Grade beams.** | **Approve** | **Accept** | No Public Comments Received | Proposed repeal of amendment | **Approve** |
| **9-12** | ***1811A.4 Structural Requirements.*** | **Approve** | **Accept** | No Public Comments Received | Editorial Change. | **Approve** |
| **9-13** | ***1812A.2 Duration.*** | **Approve** | **Accept** | No Public Comments Received | Revise amendment to coordinate with AWPA U1. | **Approve** |
| **9-14** | ***1812A.5 Construction.*** | **Approve** | **Accept** | No Public Comments Received | Revise amendment. | **Approve** |

### ITEM 10 Chapter 19, CONCRETE

Adopt Chapter 19 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 10** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **10-1** | ***1901.1.2*** | **Approve** | **Accept** | No Public Comments Received | Editorial change in language for clarity. | **Approve** |
| **10-2** | ***1901.1.3 Identification of amendments.*** | **Approve** | **Accept** | No Public Comments Received | Added section to clarify identification of amendments and adopting agency. | **Approve** |
| **10-3** | ***1901.1.4*** ***~~1901.1.3~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to added section above. | **Approve** |
| **10-4** | ***1901.1.5*** ***~~1901.1.4~~ Additional amendments. ~~Amendments.~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to added section above with minor clarifying language. | **Approve** |
| **10-5** | ***~~1909.2.1 Aggregates.~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal amendment. | **Approve** |
| **10-6** | ***1909.2.~~7~~6 Proof ~~T~~tests for post-installed anchors in concrete.*** | **Approve** | **Accept** | No Public Comments Received | Revise amendment language in this section and all the subsections. | **Approve** |
| **10-7** | ***1909.3.9 ACI 318, Section 26.11.1.2.*** | **Approve** | **Accept** | No Public Comments Received | Relocate existing amendment and carry forward. | **Approve** |
| **10-8** | ***1909.3.~~9~~10 ACI 318, Section 26.12.2.1~~(a)~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbering and editorial revisions. | **Approve** |
| **10-9** | ***1909.4 Shotcrete.***  ***~~1909.4.1,~~ ~~1909.4.2~~, and ~~1909.4.3~~*** | **Approve** | **Accept** | No Public Comments Received | Proposes one substantive change and two organizational changes. | **Approve** |

### ITEM 11 Chapter 19A, CONCRETE

Adopt Chapter 19 of 2024 IBC as Chapter 19A of 2025 CBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 11** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **11-1** | **~~1901.2.1 Structural concrete with GFRP reinforcement.~~** | **Approve** | **Accept** | No Public Comments Received | Repeal model code language. | **Approve** |
| **11-2** | **1901*A.*5 Construction documents.** | **Approve** | **Accept** | No Public Comments Received | Repeal model code language. | **Approve** |
| **11-3** | **~~1903~~*~~A.~~*~~2 Special inspections.~~** | **Approve** | **Accept** | No Public Comments Received | Repeal model code language. | **Approve** |
| **11-4** | **1903*A*.3** | **Approve** | **Accept** | No Public Comments Received | Existing amendment moved with relocated model. | **Approve** |
| **11-5** | ***~~1903A.5 Aggregates~~*** | **Approve** | **Accept** | No Public Comments Received | Propose repealing the amendment. | **Approve** |
| **11-6** | ***1903A.4 ~~1903A.7~~***  ***1903A.5 ~~1903A.8~~*** | **Approve** | **Accept** | No Public Comments Received | Renumber existing amendments. | **Approve** |
| **11-7** | **1905*A*.2 ACI 318 Section 2.3.** | **Approve** | **Accept** | No Public Comments Received | Continued deletion of the definitions. | **Approve** |
| **11-8** | **1905*A*.3.1 Connections designed to yield.** | **Approve** | **Accept** | No Public Comments Received | Existing amendment moved with relocated model. | **Approve** |
| **11-9** | **1905A.5 and 1905A.6 with subsections** | **Approve** | **Accept** | No Public Comments Received | Continued deletion of provisions from model code. | **Approve** |
| **11-10** | **1905*A*.7 Design requirements for anchors, 1905*A*.7.1, and 1905*A*.7.2** | **Further Study** | **Accept** | No Public Comments Received | Propose one substantive change and minor editorial changes to these sections.  **CAC:** Criteria 1 & 6CAC suggest further study.  **DSA SS:** Withdraw proposed changes in 1905A.7.2. Keep changes in 1905A.7 and 1905A.7.1. | **Approve** |
| **11-11** | **1906*A Reserved*** | **Approve** | **Accept** | No Public Comments Received | Marked “*RESERVED*”. | **Approve** |
| **11-12** | **~~1906A.1 Plain concrete footings.~~** | **Approve** | **Accept** | No Public Comments Received | Continued deletion of the model. | **Approve** |
| **11-13** | **1908*A*.1 General.**  ***~~1908A.2~~, and ~~1908A.3~~*** | **Approve** | **Accept** | No Public Comments Received | One substantive change and two organizational changes to these sections.  **Commission meeting:** DSA presented an addendum to include amendment language inadvertently omitted in FET. This item was Approved as Amended under 9-point criteria 6. | **Approve as Amended** |
| **11-14** | ***1909A.1, 1909A.1.1 ~~1905A.1.1~~ through 1909A.1.9 ~~1905A.1.11~~*** | **Further Study** | **Accept** | No Public Comments Received | Existing amendments are continued but relocated.  **CAC:** Criteria 1 & 6CAC suggest changing title of table to "Minimum Specified f’c Values"  **DSA SS:** Language of title revised. | **Approve** |
| **11-15** | ***1909A.1.10 ~~1905A.1.12~~ ACI 318, Section 19.2.1.1 and Table 19.2.1.1.*** | **Approve** | **Disagree** | No Public Comments Received | Existing amendments are continued but relocated with modifications.  **Post CAC:** DSA renumbered to coordinate with OSHPD package. | **Approve** |
| **11-16** | ***1909A.1.11 ~~1905A.1.13~~* through *1909A.1.16 ~~1905A.1.17~~*** | **Approve** | **Disagree** | No Public Comments Received | Existing amendments are continued but relocated.  **Post CAC:** DSA renumbered to coordinate with OSHPD package. | **Approve** |
| **11-17** | ***1910A.5 Proof ~~T~~tests for post-installed anchors in concrete.*** | **Approve** | **Accept** | No Public Comments Received | Proposed changes to the testing requirements of post-installed anchors. | **Approve** |
| **11-18** | ***1910A.5.1 General.*** | **Approve** | **Accept** | No Public Comments Received | Proposed changes to the general testing requirements of post-installed anchors. | **Approve** |
| **11-19** | ***1910A.5.2 Proof ~~T~~testing procedure.*** | **Approve** | **Accept** | No Public Comments Received | Proposed changes to the testing procedure of post-installed anchors. | **Approve** |
| **11-20** | ***1910A.5.3 Test frequency., 1910A.5.3.1 and 1910A.5.3.2*** | **Approve** | **Accept** | No Public Comments Received | Proposed changes to the testing frequency of post-installed anchors. | **Approve** |
| **11-21** | ***1910A.5.5 Test acceptance criteria.*** | **Approve** | **Accept** | No Public Comments Received | Proposed changes to the testing criteria of post-installed anchors. | **Approve** |
| **11-22** | ***1911A.2 Crack repair by epoxy injection.*** | **Approve** | **Accept** | No Public Comments Received | Proposed changes to amendment. Also, adopt ACI 548.15 specification. | **Approve** |

### ITEM 12 Chapter 20, ALUMINUM

Adopt Chapter 20 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 12** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **12-1** | ***2001.1.2 Amendments in this chapter.*** | **Approve** | **Accept** | No Public Comments Received | Editorial change in language for clarity. | **Approve** |

### ITEM 13 Chapter 21, MASONRY

Adopt Chapter 21 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 13** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **13-1** | ***2101.1.2*** | **Approve** | **Accept** | No Public Comments Received | Editorial change in language for clarity. | **Approve** |
| **13-2** | ***2101.1.3 Identification of amendments.*** | **Approve** | **Accept** | No Public Comments Received | Added section to clarify identification of amendments and adopting agency. | **Approve** |
| **13-3** | ***2101.1.4 ~~2101.1.3~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to added section above. | **Approve** |
| **13-4** | ***2101.1.5*** ***~~2101.1.4~~*** ***Additional amendments. ~~Amendments.~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to added section above with minor clarifying language. | **Approve** |
| **13-5** | ***2115.1.1 Prohibitions.*** | **Approve** | **Accept** | No Public Comments Received | Editorial updates to the list of prohibitions to align with TMS. | **Approve** |
| **13-6** | ***2115.2 Masonry construction materials.*** | **Approve** | **Accept** | No Public Comments Received | Sections are reorganized to align with current Chapter 21 sections and titles. | **Approve** |
| **13-7** | ***2115.2.1 ~~2115.2~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section and updated code reference. | **Approve** |
| **13-8** | ***2115.2.2 ~~2115.3~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section. | **Approve** |
| **13-9** | ***2115.2.3 Specified compressive strength of masonry and grout****.* | **Approve** | **Accept** | No Public Comments Received | Existing strength limit relocated into this section and format aligned with TMS 402 Table 4.3.1. | **Approve** |
| **13-10** | ***2115.3 Construction.*** | **Approve** | **Accept** | No Public Comments Received | Sections and subsections are reorganized to align with current Chapter 21 sections and titles. | **Approve** |
| **13-11** | ***2115.3.1 ~~2115.4~~***  ***2115.3.2 ~~2115.5~~***  ***2115.3.2.1 ~~2115.5.1~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to organizational change for amendments. Continued amendment relocated from other sections. | **Approve** |
| **13-12** | ***2115.3.2.2 ~~2115.5.2~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to organizational change. Relocated from 2115.5.2 with minor edits. | **Approve** |
| **13-13** | ***2115.3.2.3 ~~2115.5.3~~***  ***2115.3.2.4 ~~2115.5.4~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to organizational change. | **Approve** |
| **13-14** | ***~~2115.5.6 TMS 602, Article 3.5 E Consolidation.~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal amendment. | **Approve** |
| **13-15** | ***2115.3.2.5 ~~2115.5.7~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section with other minor edits. | **Approve** |
| **13-16** | ***2115.3.2.6 ~~2115.6~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section with other minor edits. | **Approve** |
| **13-17** | ***2115.3.2.7 Reinforced hollow-unit masonry.*** | **Approve** | **Accept** | No Public Comments Received | New section to correspond to CBC chapter 21 section titles. | **Approve** |
| **13-18** | ***2115.3.2.7.1 ~~2115.5.5~~*** | **Approve** | **Accept** | No Public Comments Received | Relocated amendment from existing Section 2115.5.5. | **Approve** |
| **13-19** | ***2115.4 Quality assurance.*** | **Approve** | **Accept** | No Public Comments Received | New section to correspond to CBC chapter 21 section titles. | **Approve** |
| **13-20** | ***~~2115.7 Compressive strength f′m.~~*** | **Approve** | **Accept** | No Public Comments Received | Existing amendment repealed. | **Approve** |
|  | ***~~2115.8 Additional testing requirements.~~*** | **Approve** | **Accept** | No Public Comments Received | Delete current section due to reorganization. | **Approve** |
| **13-21** | ***2115.4.1 ~~2115.8.1~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section with additional modifications. | **Approve** |
| **13-22** | ***2115.4.2 ~~2115.8.2~~*** | **Further Study**  **Required** | **Accept** | No Public Comments Received | Renumbered section with additional modifications.  **CAC:** Criteria 6CAC suggest further study. Language of “where a face shell separates from the grout core… A value of zero shall be assigned…"  **DSA SS:** Language revised. | **Approve** |
| **13-23** | ***~~2115.9 Modifications to TMS 402.~~*** | **Approve** | **Accept** | No Public Comments Received | Delete current section due to reorganization. | **Approve** |
| **13-24** | ***2115.5 Seismic Design.*** | **Approve** | **Accept** | No Public Comments Received | New section to correspond to CBC chapter 21 section titles. | **Approve** |
| **13-25** | ***2115.5.1 ~~2115.9.1~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section with additional changes. | **Approve** |
| **13-26** | ***2115.5.2 TMS 402, Section 7.3.2.5 (i).*** | **Approve** | **Accept** | No Public Comments Received | New section added. | **Approve** |
| **13-27** | ***2115.5.3 ~~2115.9.2~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section with minor editorial changes. | **Approve** |
| **13-28** | ***2115.6 ~~2115.10~~ ~~Additional requirements for allowable~~ Allowable stress design.*** | **Approve** | **Accept** | No Public Comments Received | Editorial change to coordinate section. | **Approve** |
| **13-29** | ***2115.6.1 ~~2115.10.1~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section following organizational change. | **Approve** |
| **13-30** | ***2115.7 ~~2115.11~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered amendment. Relocate existing Table 8.3.3.4 to Section 2115.6.1. | **Approve** |

### ITEM 14 Chapter 21A, MASONRY

Adopt Chapter 21 of 2024 IBC as Chapter 21A of 2025 CBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 14** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **14-1** | ***2101A.1.3 Prohibition:*** | **Approve** | **Accept** | No Public Comments Received | Editorial change in language for clarity. | **Approve** |
| **14-2** | ***2103A.3.1 Aggregate.*** | **Approve** | **Accept** | No Public Comments Received | Previous amendment is continued. | **Approve** |
| **14-3** | ***2103A.6 Specified compressive strength of masonry and grout****.* | **Approve** | **Accept** | No Public Comments Received | New section with consolidated three sections into one. | **Approve** |
| **14-4** | ***2104A.1.3.1*** | **Approve** | **Accept** | No Public Comments Received | Addition of DSA-SS banner. | **Approve** |
| **14-5** | ***2104A.1.3.3 TMS 602, Article 3.4 B Reinforcement.*** | **Approve** | **Accept** | No Public Comments Received | Section is revised to align with TMS 602 and statutory mandate for use of plain language. | **Approve** |
| **14-6** | ***2104A.1.3.4 TMS 602, Article ~~3.4 D~~ 3.4 E Anchor bolts.*** | **Approve** | **Accept** | No Public Comments Received | Revised section numbers to match revisions in other section. | **Approve** |
| **14-7** | ***2104A.1.3.5 [DSA-SS] TMS 602, Article 3.5 C Grout pour height.*** | **Further Study** | **Accept** | No Public Comments Received | Eliminate requirement for grout aid which was not part of the reference standard. Amendments elsewhere in this chapter have been incorporated into the TMS 602 Table 7 for clarity.  **CAC:** Criteria 6CAC suggest further study. Struck Item 1 "at" between "terminated" and "the" should not have been struck  **DSA SS:** Language revised. | **Approve** |
| **14-8** | ***2104A.1.3.6*** | **Approve** | **Accept** | No Public Comments Received | Existing amendment is retained with clarification. | **Approve** |
| **14-9** | ***2104A.1.3.7 Reserved ~~TMS 602, Article 3.5 E Consolidation.~~*** | **Approve** | **Accept** | No Public Comments Received | Repeal redundant amendment. Mark as Reserved. | **Approve** |
| **14-10** | ***2104A.1.3.8*** | **Approve** | **Accept** | No Public Comments Received | Clarification. | **Approve** |
| **14-11** | ***2104A.1.3.9 TMS 602, Article 3.5 Grout placement.*** | **Approve** | **Accept** | No Public Comments Received | Updated to align with TMS imperative language and renumbering. | **Approve** |
| **14-12** | ***2104A.1.3.10.2 TMS 402, Section 5.1.3.2 Composite Action.*** | **Approve** | **Accept** | No Public Comments Received | Existing amendment is revised to align text with TMS 402; no material change intended. | **Approve** |
| **14-13** | ***2104A.1.3.10.3*** | **Approve** | **Accept** | No Public Comments Received | Update to match TMS renumbering. | **Approve** |
| **14-14** | ***2104A.1.3.10.4*** | **Approve** | **Accept** | No Public Comments Received | Update to SI units and renumbering. | **Approve** |
| **14-15** | ***2104A.1.3.10.5*** | **Approve** | **Accept** | No Public Comments Received | Continued amendment with editorial changes. | **Approve** |
| **14-16** | ***~~2104A.1.3.10.6~~*** | **Approve** | **Accept** | No Public Comments Received | Existing amendment repealed. | **Approve** |
| **14-17** | ***2104A.1.3.11.1*** | **Approve** | **Accept** | No Public Comments Received | Editorial revisions. | **Approve** |
| **14-18** | ***2104A.1.3.11.2*** | **Approve** | **Accept** | No Public Comments Received | Revised to align with re-organization. | **Approve** |
| **14-19** | ***2105A.2 Compressive strength*** | **Approve** | **Accept** | No Public Comments Received | Repeal amendment language. | **Approve** |
| **14-20** | ***2105A.3 Mortar and grout tests.*** | **Approve** | **Accept** | No Public Comments Received | Continued amendment with modifications. | **Approve** |
| **14-21** | ***2105A.4 Masonry Core Testing.*** | **Further Study** | **Accept** | No Public Comments Received | Existing amendment is retained with added language.  **CAC:** Criteria 6CAC suggest further study. Unclear language “where a face shell separates from the grout core… A value of zero shall be assigned…"  **DSA SS:** Language revised. | **Approve** |
| **14-22** | ***2106A.1.1 TMS 402, ~~Sections 5.3.1.4(a) and 5.3.1.4(b)~~ Section 5.4.1.4.*** | **Approve** | **Accept** | No Public Comments Received | Section is revised to align closely with changes. | **Approve** |
| **14-23** | ***2106A.1.2 TMS 402, Chapter 5.*** | **Approve** | **Accept** | No Public Comments Received | Revised reference section numbers. | **Approve** |
| **14-24** | ***2106A.1.3 TMS 402, Section 7.3.2.5 (i)*** | **Approve** | **Accept** | No Public Comments Received | New section with revisions to TMS 402. | **Approve** |
| **14-25** | ***2106A.1.4 ~~2106A.1.3~~*** | **Approve** | **Accept** | No Public Comments Received | Renumber with minor editorial changes. | **Approve** |
| **14-26** | **2107*A*.1 General.** | **Approve** | **Accept** | No Public Comments Received | Updated reference pointer due to deleted sections. | **Approve** |
| **14-27** | ***~~2107A.6 Masonry Compressive Strength~~* and *~~2108A.4~~*** | **Approve** | **Accept** | No Public Comments Received | Deleted sections which are no longer necessary. | **Approve** |

### ITEM 15 Chapter 22, STEEL

Adopt Chapter 22 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 15** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **15-1** | ***2201.1.2*** | **Approve** | **Accept** | No Public Comments Received | Editorial change in language for clarity. | **Approve** |
| **15-2** | ***2201.1.3 Identification of amendments.*** | **Approve** | **Accept** | No Public Comments Received | Added section to clarify identification of amendments and adopting agency. | **Approve** |
| **15-3** | ***2201.1.4 ~~2201.1.3~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to added section above. | **Approve** |
| **15-4** | ***2201.1.5*** ***~~2201.1.4~~*** ***Additional amendments. ~~Amendments.~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to added section above with minor clarifying language. | **Approve** |
| **15-5** | ***2215.1 ~~2212.1~~ General. ~~Connections.~~*** | **Approve** | **Accept** | No Public Comments Received | Editorial change to coordinate section titles for amendments to correspond to CBC chapter 22 section titles. | **Approve** |
| **15-6** | ***2215.1.1 ~~2212.1.1~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered and revised amendment. | **Approve** |
| **15-7** | ***2215.2* *~~2212.2~~* *Modifications to AISC 341*.**  ***2215.2.1 ~~2212.2.1~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered and revised amendments. | **Approve** |
| **15-8** | ***2215.2.2 ~~2212.2.2~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered. | **Approve** |
| **15-9** | ***2215.3 ~~2212.3~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered and pointer revised. | **Approve** |
| **15-10** | ***2215.4 ~~2212.5~~, 2215.5 ~~2212.4~~, 2215.6 ~~2212.6~~, 2215.6.1 ~~2212.6.1~~ and 2215.6.2 ~~2212.6.2~~*** | **Approve** | **Accept** | No Public Comments Received | Existing amendments are retained. Renumbered sections due to reorganization of Chapter 22. | **Approve** |

### ITEM 16 Chapter 22A, STEEL

Adopt Chapter 22 of 2024 IBC as Chapter 22A of 2025 CBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 16** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **16-1** | **2201*A*.2 Identification.** | **Approve** | **Accept** | No Public Comments Received | Adding reference to Chapter 17A. | **Approve** |
| **16-2** | ***2201A.5.1 ~~2204A.4~~******Shear transfer at column******~~Column~~ base plate.*** | **Approve** | **Accept** | No Public Comments Received | Existing Section 2204A.4 relocated to this section to align with reorganized Chapter 22A and amended. | **Approve** |
| **16-3** | **2202*A*.2.1 Structural steel seismic force-resisting systems and composite structural steel …** | **Approve** | **Accept** | No Public Comments Received | Existing exceptions to Section 2205A.1 are relocated to new Section 2202A.1 to align with reorganized Chapter 22A. | **Approve** |
| **16-4** | **2202*A*.2.1.1** | **Approve** | **Accept** | No Public Comments Received | Existing amendment moved from Section 2205A.2.1.1. | **Approve** |
| **16-5** | **2202*A*.2.1.2** | **Approve** | **Accept** | No Public Comments Received | Amendment in existing Section 2205A.2.1.2 is retained. | **Approve** |
| **16-6** | **2202*A*.2.2 Structural steel elements.** | **Approve** | **Accept** | No Public Comments Received | Reference to Seismic Design Categories B and C are deleted. | **Approve** |
| **16-7** | ***2202A.5*** ***~~2205A.3~~*** ***Modifications to AISC 341.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to organizational change. | **Approve** |
| **16-8** | ***2202A.5.1*** ***~~2205A.3.1~~***  ***2202A.5.2*** ***~~2205A.3.2~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbering. | **Approve** |
| **16-9** | ***2202A.6*** ***Modifications to AISC 358.*** | **Approve** | **Accept** | No Public Comments Received | New added to incorporate modifications to AISC 358. | **Approve** |
| **16-10** | ***2202A.6.1 Modifications to AISC 358 Chapter 10.***  **~~2206A.2.1~~** | **Approve** | **Accept** | No Public Comments Received | Existing amendment in exception to Section 2206A.2.1 is relocated to this section. | **Approve** |
| **16-11** | **2204*A*.1 General.** | **Approve** | **Accept** | No Public Comments Received | Amendments deleted. | **Approve** |
| **16-12** | **~~2204.2 Seismic design.~~**  **~~2204.2.1, 2204.2.2~~** | **Approve** | **Accept** | No Public Comments Received | Model code sections are deleted. | **Approve** |
| **16-13** | **2206*A*.1.1.1, 2206*A*.1.1.2, 2206*A*.1.2, 2206*A*.1.3** | **Approve** | **Accept** | No Public Comments Received | Amendments in existing sections are carried forward and relocated/aligned with new reorganization of Chapter 22A. | **Approve** |
| **16-14** | **2206*A*.1.3.1 Truss design drawings.** | **Approve** | **Accept** | No Public Comments Received | Existing amendment is carried forward. Added reference to AISI S202. | **Approve** |
| **16-15** | **2206*A*.2 Nonstructural members.** | **Approve** | **Accept** | No Public Comments Received | Existing amendment carried forward. | **Approve** |
| **16-16** | **2208*A*.1 Steel decks. ~~2210A.1.1.2~~** | **Approve** | **Accept** | No Public Comments Received | Existing amendments carried forward from 2210A.1.1.2. | **Approve** |
| **16-17** | **2214*A*.1 General.** | **Approve** | **Accept** | No Public Comments Received | Existing amendments carried forward from 2208A.1. | **Approve** |
| **16-18** | ***2215A ~~2212A~~***  ***2215A.1 ~~2212A.1~~*** ***General.*** | **Approve** | **Accept** | No Public Comments Received | All subsections within this section are renumbered. | **Approve** |
| **16-19** | ***2215A.1.1 ~~2212A.1.1~~ Configuration.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered and pointers revised. | **Approve** |
| **16-20** | ***2215A.1.2 ~~2212A.1.2~~***  ***2215A.2 ~~2212A.2~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered sections. | **Approve** |
| **16-21** | ***2215A.2.1*** ***~~2212A.2.1~~*** ***Base materials.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered. New amendment is added. | **Approve** |
|  | ***2215A.2.2 ~~2212A.2.2~~***  ***2215A.2.3 ~~2212A.2.3~~***  ***2215A.2.4 ~~2212A.2.4~~***  ***2215A.2.5 ~~2212A.2.5~~*** | **Approve** | **Accept** | No Public Comments Received | Existing amendments renumbered. | **Approve** |
| **16-22** | ***2216A ~~2213A~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered. | **Approve** |
| **16-23** | ***2216A.1 ~~2213A.1~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered and pointer revised. | **Approve** |
| **16-24** | ***2216A.2 ~~2213A.2~~ Tests of end-welded studs.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered. Reference revised to align with new version of AWS D1.1. Exemption for fillet welded studs added to the AWS D1.1 is incorporated. | **Approve** |

### ITEM 17 Chapter 23, WOOD

Adopt Chapter 23 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 17** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **17-1** | ***2301.1.2*** | **Approve** | **Accept** | No Public Comments Received | Editorial change in language for clarity. | **Approve** |
| **17-2** | ***2301.1.3 Identification of amendments.*** | **Approve** | **Accept** | No Public Comments Received | Added section to clarify identification of amendments and adopting agency. | **Approve** |
| **17-3** | ***2301.1.4 ~~2301.1.3~~, 2301.1.4.1 ~~2301.1.3.1~~ and 2301.1.4.2 ~~2301.1.3.2~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section due to added section above. | **Approve** |
| **17-4** | ***2301.1.5*** ***~~2301.1.4~~* *[DSA-SS ~~&~~ , DSA-SS/CC] Prohibition.*** | **Approve** | **Accept** | No Public Comments Received | Retain amendments. Repeal CLT prohibition in Item 10 since reference standard now includes this system. DSA banner is added to Item 9. | **Approve** |
| **17-5** | ***2303.1.4.1 Additional requirements.*** | **Approve** | **Accept** | No Public Comments Received | Editorial change in language for clarity. | **Approve** |
| **17-6** | ***2305.1.3* *~~2305.1.2~~* *Additional requirements.*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section and reference pointer. | **Approve** |
| **17-7** | **2308.2 Limitations.**  ***2308.2.8*** ***~~2308.2.7~~*** | **Approve** | **Accept** | No Public Comments Received | Renumbered section and reference pointers. | **Approve** |

### ITEM 18 Chapter 24, GLASS AND GLAZING

Adopt Chapter 24 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 18** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **18-1** | ***2401.1.2*** | **Approve** | **Accept** | No Public Comments Received | Editorial change. | **Approve** |
| **18-2** | ***2410.1.3 Monitoring.*** | **Approve** | **Accept** | No Public Comments Received | Editorial change. | **Approve** |

### ITEM 19 Chapter 25, GYPSUM PANEL PRODUCTS AND PLASTER

Adopt Chapter 25 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 19** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **19-1** | ***2501.1.2*** | **Approve** | **Accept** | No Public Comments Received | Editorial change. | **Approve** |
| **19-2** | ***2503.2 Additional requirements for inspection and testing.*** | **Approve** | **Accept** | No Public Comments Received | Editorial change. | **Approve** |
| **19-3** | ***2507.3 Lath attachment to horizontal wood supports.*** | **Approve** | **Accept** | **45-Day Public Comment:**  Bryan Stanley - Recommend: **Amend**  **15-Day Public Comment:**  Bryan Stanley – Recommend: **Amend** | Proposes to add language to Item 2 in amendment.  **DSA (45-Day):** Amendment made to section for clarity.  **DSA (15-Day):** No change made. | **Approve** |

### ITEM 20 Chapter 26, PLASTIC

Adopt Chapter 26 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 20** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **20-1** | ***~~2601.1.1, 2601.1.2~~*** | **Approve** | **Accept** | No Public Comments Received | Amendments repealed. | **Approve** |
| **20-2** | ***~~2603.11.1~~, ~~2603.12.3~~, and ~~2603.13.3~~*** | **Approve** | **Accept** | No Public Comments Received | Model code language for these sections is being relocated to Chapter 14, but DSA is repealing amendments for those sections. | **Approve** |

### ITEM 21 Chapter 30, ELEVATORS AND CONVEYING SYSTEMS

Adopt Chapter 30 of 2024 IBC without amendment.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 21** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **21-1** | **Chapter 30** | **Approve** | **Accept** | No Public Comments Received | Adopt Chapter 30 of 2024 IBC without amendment. | **Approve** |

### ITEM 22 Chapter 31, SPECIAL CONSTRUCTION

Adopt Chapter 31 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 22** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **22-1** | **3103.1 General.** | **Further Study**  **Required** | **Accept** | No Public Comments Received | New amendment language.  **CAC:** Criteria 6CAC suggests modifying language.  **DSA SS:** Language revised. | **Approve** |
| **22-2** | **3111.1.1 Wind resistance.** | **Approve** | **Accept** | No Public Comments Received | Revise pointer. | **Approve** |
| **22-3** | **~~3114~~ 3114** | **Approve** | **Accept** | No Public Comments Received | All subsections renumbered. | **Approve** |
| **22-4** | **3114.1** **Exceptions:**  **3114.6** **Roof Assemblies**. | **Approve** | **Accept** | No Public Comments Received | Existing amendments in renumbered sections are carried forward. | **Approve** |
| **22-5** | **3114.8.2 Welds.** | **Approve** | **Accept** | No Public Comments Received | Repeal existing amendment. | **Approve** |
| **22-6** | **3114.8.4.1 Material properties.** | **Approve** | **Accept** | No Public Comments Received | Repeal existing amendments. | **Approve** |
| **22-7** | **3114.8.4.2 Seismic design parameters.** | **Approve** | **Accept** | No Public Comments Received | Existing amendment in renumbered section is repealed. Amendment in Item 1 is carried forward. | **Approve** |
| **22-8** | **3114.8.5** | **Approve** | **Accept** | No Public Comments Received | Existing amendment is carried forward. | **Approve** |
| **22-9** | ***3114.9 ~~3115.9~~***  ***3114.9.1 ~~3115.9.1~~***  ***3114.9.2*** ***~~3115.9.2~~***  ***3114.9.3 ~~3115.9.3~~*** | **Approve** | **Accept** | No Public Comments Received | Existing amendments in Section 3115.9 and sub-sections are carried forward and renumbered. | **Approve** |

### ITEM 23 Chapters 31D, 32 and 33

Adopt Chapter 31D for DSA-SS and DSA-SS/CC. Adopt Chapters 32 and 33 of 2024 IBC without amendment.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 23** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **23-1** | **Chapter 31D** | **Approve** | **Accept** | No Public Comments Received | Adopt Chapter 31D for DSA-SS and DSA-SS/CC. | **Approve** |
| **23-2** | **Chapters 32 and 33** | **Approve** | **Accept** | No Public Comments Received | Adopt chapters 32-33 of 2024 IBC without amendment. | **Approve** |

### ITEM 24 Chapter 35, REFERENCED STANDARDS

Adopt Chapter 35 of 2024 IBC and bring forward existing California amendments from the 2022 CBC with modification to sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 24** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **24-1** | **AAMA/WDCA/CSA101/I.S.2/A440-22:**  **ACI 318-19** | **Approve** | **Accept** | No Public Comments Received | Referenced sections revised. | **Approve** |
| **24-2** | ***ACI 355.2—22 ~~19~~***  ***ACI 355.4—19 (21)***  ***ACI 440.2R-~~08~~ 17*** | **Approve** | **Accept** | No Public Comments Received | Updating reference standards editions. | **Approve** |
| **24-3** | ***~~ACI 503.7—07~~***  ***ACI 548.15-20*** | **Approve** | **Accept** | No Public Comments Received | Amendment is repealed and replaced by ACI 548.15. | **Approve** |
| **24-4** | ***ACI 506.2-13 (18)***  ***ACI 506.4R –19***  ***ACI 506.6T—17*** | **Approve** | **Accept** | No Public Comments Received | Adding new reference standards. | **Approve** |
| **24-5** | **ANSI/AISC 341—22**  **ANSI/AISC 358—22**  **ANSI/AISC 360—22**  **ANSI/AISC 370—21** | **Approve** | **Accept** | No Public Comments Received | Referenced sections revised. | **Approve** |
| **24-6** | **AISI S100—16(2020) w/S2—20**  **AISI S240—20**  **AISI S400—20** | **Approve** | **Accept** | No Public Comments Received | Referenced sections revised. | **Approve** |
| **24-7** | **ASCE/SEI 7-22** | **Approve** | **Accept** | No Public Comments Received | Adopting Supplement 1. | **Approve** |
| **24-8** | ***ASCE/SEI 41-23*** | **Approve** | **Accept** | No Public Comments Received | Adding this reference standard to the code. | **Approve** |
| **24-9** | ***ASHRAE 171-2017*** | **Approve** | **Accept** | No Public Comments Received | Adding this reference standard to the code. | **Approve** |
| **24-10** | **ASTM A615/A615M – ~~20~~ *22***  **ASTM A706/A706M- ~~2016~~ *22a***  ***ASTM A1064 - ~~17~~ 22***  ***ASTM C618 -~~19~~ 23e1***  **ASTM C635/C635M – 2017 *22***  ***ASTM C989 – 22 ~~18a~~***  ***ASTM C1019 – ~~16~~ 20***  ***ASTM C1249—18 (2023)***  ***ASTM C1401 –~~14~~ 23***  ***ASTM D1586 – ~~20~~ 18e1***  ***ASTM D3966 – ~~07(2013)~~ 22***  ***ASTM E580/E580M –~~17~~ 22***  ***ASTM C1586 - ~~05(2011)~~ 20*** | **Approve** | **Accept** | No Public Comments Received | Updating reference standards editions and revising referenced sections. | **Approve** |
| **24-11** | **ASTM A722/A722M - 2018**  **ASTM C150/C150M—21**  **ASTM C270—19ae1**  **ASTM C595/C595M—21**  **ASTM C636/C636M-19**  **ASTM C1157/C1157M—20a** | **Approve** | **Accept** | No Public Comments Received | Referenced sections revised. | **Approve** |
| **24-12** | ***~~ASTM C482 – 20~~***  **~~ASTM C636/C636M—17~~** | **Approve** | **Accept** | No Public Comments Received | Repeal referenced standards. | **Approve** |
| **24-13** | ***ASTM C1714/C1714M-23***  ***ASTM C1823/C1823M – 20***  ***ASTM E3121 – 17*** | **Approve** | **Accept** | No Public Comments Received | Added reference standards. | **Approve** |
| **24-14** | **ANSI/AWC NDS—2024** | **Approve** | **Accept** | No Public Comments Received | Revised year for supplement. | **Approve** |
| **24-15** | ***AWS B5.1 – 2013-AMD1***  ***AWS D1.6D1.6M – 2017*** | **Approve** | **Accept** | No Public Comments Received | Added reference standards. | **Approve** |
| **24-16** | ***AWS D1.1/D1.1M – ~~15~~ 20***  ***AWS D1.3/D1.3M –~~08~~ 2018***  ***AWS D1.8/D1.8M –~~2016~~ 2021*** | **Approve** | **Accept** | No Public Comments Received | Updated reference standards editions. | **Approve** |
| **24-17** | **AWS D1.4/D1.4M—2018**  ***AWS******QC1 – 2016*** | **Approve** | **Accept** | No Public Comments Received | Referenced sections revised. | **Approve** |
| **24-18** | ***FM 1950 –~~2016~~ 2022*** | **Approve** | **Accept** | No Public Comments Received | Updated reference standards editions. | **Approve** |
| **24-19** | **ICC 300—~~2017~~ *23***  ***ICC-ES AC 01 –~~21~~ 24***  ***ICC-ES AC 58 –~~21~~ 24***  ***ICC-ES AC 70 –~~21~~ 24***  ***ICC-ES AC 106 –~~21~~ 24***  ***ICC-ES AC 125 –~~21~~ 24***  ***ICC-ES AC 156 –~~21~~ 24***  ***ICC-ES AC 178 –~~21~~ 24***  ***ICC-ES AC 193 –~~21~~ 24***  ***ICC-ES AC 232 –~~21~~ 24***  ***ICC-ES AC 308 –~~21~~ 24***  ***ICC-ES AC 358 –~~21~~ 24***  ***ICC-ES AC 446*** ***–~~21~~ 24*** | **Approve** | **Accept** | No Public Comments Received | Updated reference standards editions and revised referenced sections. | **Approve** |
| **24-20** | ***PCI MNL-120—17*** | **Approve** | **Accept** | No Public Comments Received | Referenced sections revised. | **Approve** |
| **24-21** | **TMS 402—2022**  **TMS 602—2022** | **Approve** | **Accept** | No Public Comments Received | Referenced sections revised. | **Approve** |

### ITEM 25 Chapters 11, 13, 27, 28. Appendices a through p

Chapters 11, 13, 27 through 29 and Appendices A through P of the 2024 IBC are not adopted.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DSA-SS 05-24 ITEM 25** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| **25-1** | **Chapters 11, 13, 27 through 29 and Appendices A through P** | **Not applicable** | **Not applicable** | No Public Comments Received | Chapters 11, 13, 27 through 29 and Appendices A through P of the 2024 IBC are not adopted.  **Post CAC:** This item was added after CAC meeting to clarify that the listed Chapters and Appendices are not adopted. | **Approve** |