# COMMISSION ACTION MATRIX – GREENSTRUCTURAL DESIGN/LATERAL FORCES (SDLF) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2, VOLUME 2, 2024 INTERNATIONAL BUILDING CODE (IBC),AGENCY: OFFICE OF STATEWIDE HOSPITAL PLANNING AND DEVELOPMENT, OSHPD 05/24

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (…) indicate existing text remains unchanged

### ITEM 1CHAPTER 2 DEFINITIONS

Adopt 2024 IBC Chapter 2 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 1** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **1-1** | ***ACTIVE EARTHQUAKE FAULT*** | **Approve** | **Accept** | No public comments received | OSHPD banners corrected. |  |
| **1-2** | ***ALTERNATIVE SYSTEM*** | **Approve** | **Accept** | No public comments received | Section references corrected. |  |
| **1-3** | ***BASE*** | **Approve** | **Accept** | No public comments received | OSHPD banner and section reference corrected. |  |
| **1-4** | ***DISTANCE FROM AND ACTIVE EARTHQUAKE FAULT*** | **Approve** | **Accept** | No public comments received | OSHPD banners corrected. |  |
| **1-5** | ***FREESTANDING ACUTE PSYCHIATRIC BUILDING*** | **Approve** | **Accept** | No public comments received | The definition of freestanding building is no longer in Part 1, so reference to Part 1 is repealed. |  |
| **1-6** | ***FREESTANDING BUILDING OR STRUCTURE*** | **Approve** | **Accept** | No public comments received | New definition added since the term is used extensively in the California Building Code. |  |
| **1-7** | ***FREESTANDING SKILLED NURSING BUILDING (SNB)*** | **Approve** | **Accept** | No public comments received | The definition of freestanding building is no longer in Part 1, , so reference to Part 1 is repealed |  |
| **1-8** | ***GENERAL ACUTE CARE BUILDING (GAC BUILDING)*** | **Approve** | **Accept** | No public comments received | Clarity added to the definition based on the law. |  |
| **1-9** | ***INCIDENTAL STRUCTURAL ALTERATIONS, ADDITIONS OR REPAIRS*** | **Approve** | **Accept** | No public comments received | New definition added as a pointer to the California Existing Building Code to avoid duplication. |  |
| **1-10** | ***IRREGULAR STRUCTURE*** | **Approve** | **Accept** | No public comments received | OSHPD banners corrected. |  |
| **1-11** | ***MAJOR STRUCTURAL ALTERATIONS, ADDITIONS OR REPAIRS*** | **Approve** | **Accept** | No public comments received | OSHPD banners corrected. |  |
| **1-12** | ***MINOR STRUCTURAL ALTERATIONS, ADDITIONS OR REPAIRS*** | **Approve** | **Accept** | No public comments received | OSHPD banners corrected. |  |
| **1-13** | ***~~NEXT GENERATION ATTENUATION WEST 2 (NGAWEST 2)~~*** | **Approve** | **Accept** | No public comments received | This defined term is repealed as it is no longer used. |  |
| **1-14** | ***NPC 1, NPC 2, NPC 3/NPC 3R, NPC 4, NPC-4D AND NPC 5.*** | **Approve** | **Accept** | No public comments received | Revised to match the OSHPD type of applicable building. |  |
| **1-15** | ***OFF SITE CONSTRUCTION*** | **Further Study Required** | **Accept** | No public comments received | New definition added for use in Sections 1710 and 1710A.**CAC:** Criteria 6CAC suggests editorial change “which” to “that” and shorten the sentence removing “to or destruction thereof.”**OSHPD:** Accept and made the change. |  |
| **1-16** | ***RETROFIT*** | **Approve** | **Accept** | No public comments received | OSHPD banners corrected. |  |
| **1-17** | ***SIGNIFICANT LOSS OF FUNCTION*** | **Approve** | **Accept** | No public comments received | OSHPD banners corrected. |  |
| **1-18** | **SPECIAL INSPECTION** | **Approve** | **Accept** | No public comments received | Missing banner for the periodic special inspection is added. |  |
| **1-19** | ***SURFACE MOUNTED COMPONENT*** | **Approve** | **Accept** | No public comments received | OSHPD banner and section reference corrected. |  |

### ITEM 2CHAPTER 14 EXTERIOR WALLS

Adopt 2024 IBC Chapter 14 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 2** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **2-1** | ***1404.1.2 ~~1404.1.1~~ Additional requirements.*** | **Approve** | **Accept** | No public comments received | Renumber and revise references. |  |
| **2-2** | ***~~1410~~ 1413, ~~1410.1~~ 1413.1,******~~1410.2~~ 1413.2***  | **Approve** | **Accept** | No public comments received | Sections renumbered. |  |
| **2-3** | ***1413.2.1 ~~1410.2.1~~ Bond strength and tests.*** | **Approve** | **Accept** | No public comments received | Section revised to align language with TMS 402 and require all mortar and veneer types to be tested. |  |
| **2-4** | ***1413.2.2 TMS 402, Section 13.3.2.2.*** | **Approve** | **Accept** | No public comments received | New section added to replace TMS 402 Section 13.3.2.2 and limit masonry veneers weight to 15 psf. |  |

### ITEM 3CHAPTER 15 ROOF ASSEMBLIES AND ROOFTOP STRUCTURES

Adopt 2024 IBC Chapter 15 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 3** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **3-1** | ***1511.~~9~~ 10*** ***Photovoltaic (PV) panel systems. 1511.~~9.1~~ 10.1******Design ~~Installation~~.*** | **Approve** | **Accept** | No public comments received | Renumber and revise the language removing unnecessary duplications and clarifying requirements for manufacturer’s instructions and design of PV panel systems. |  |

### ITEM 4CHAPTER 16 STRUCTURAL DESIGN

Adopt 2024 IBC Chapter 16 for OSHPD 1R, 2, 3, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 4** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **4-2** | ***1601.1.2 Amendments in this chapter.*** | **Approve** | **Accept** | No public comments received | Editorial change for clarification. |  |
| **4-3** | ***1601.1.3 Identification of amendments.*** | **Approve** | **Accept** | No public comments received | Add section to clarify identification of amendments and adopting agency. Editorial change to reflect change in organization name. |  |
| **4-4** | ***1601.1.5 ~~1601.1.4~~ Additional a~~A~~mendments.*** | **Approve** | **Accept** | No public comments received | Renumber and revise pointers. |  |
| **4-5** | **Table 1604.5 RISK CATEGORY OF BUILDINGS AND OTHER STRUCTURES** | **Approve** | **Accept** | No public comments received | New amendment to retain risk category assignment in-lieu of adopting new risk category in accordance with model code. |  |
| **4-6** | **Table 1607.1 MINIMUM UNIFORMLY DISTRIBUTED LIVE LOADS …** | **Approve** | **Accept** | No public comments received | Renumber #39 to align with model code re-organization. |  |
| **4-7** | **1607.14.3.5 Ballasted photovoltaic panel systems.** | **Approve** | **Accept** | No public comments received | New amendment to align language with Section 1613.4. |  |
| **4-8** | **1613.1 Scope.** | **Approve** | **Accept** | No public comments received | Delete existing exception. |  |
| **4-9** | **1613.2 Determination of seismic design category.** | **Approve** | **Accept** | No public comments received | Relocate existing amendment from Section 1613.2.5. |  |
| **4-10** | **1613.2.1, 1613.2.5, 1613.2.5.1, 1613.2.5.2, & Tables 1613.2.3(1) & 1613.2.3(2)** | **Approve** | **Accept** | No public comments received | Repeal amendments in sections which are repealed in 2024 IBC. |  |
| **4-11** | ***1613.7 ~~1613.4~~ Component Importance Factors.*** | **Approve** | **Accept** | No public comments received | Renumber existing section. |  |

### ITEM 5CHAPTER 16A STRUCTURAL DESIGN

Adopt 2024 IBC Chapter 16 as Chapter 16A of the 2025 CBC for OSHPD 1 and 4. Adopt only section 1617A.1.18 for OSHPD 2 & 5.
Carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 5** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **5-2** | **1604*A*.4 Analysis.** | **Approve** | **Accept** | No public comments received | Existing amendment repealed. |  |
| **5-3** | ***1605A1.1 Stability &******1605A.1.2 Foundation resistance.*** | **Approve** | **Accept** | No public comments received | New amendment to separate language and provide clarification. |  |
| **5-4** | ***~~1605A.3.1 ICC 300, Section 303.5.2.~~*** | **Approve** | **Accept** | No public comments received | Existing amendment repealed. |  |
| **5-5** | ***1605A.3.1 ~~1605A.3.2~~*** | **Approve** | **Disagree** | No public comments received | Renumber and clarify the language. Post CAC in discussion with DSA, some reference equation numbers have been updated to match the 2023 edition for ICC 300.**Post CAC:** In discussion with DSA, some reference equation numbers have been updated to match the 2023 edition for ICC 300. |  |
| **5-6** | **1607*A*.1 General.** | **Approve** | **Accept** | No public comments received | Existing amendment repealed. |  |
| **5-7** | **Table 1607A.1** | **Approve** | **Disagree** | No public comments received | Renumber #38 to #39. **Post CAC**: Item 20 superscript “d” was added to the IET, as it was not previously included in the IET, but was included in the ISOR. |  |
| **5-8** | **1607*A*.14.3.5 Ballasted photovoltaic panel systems.** | **Approve** | **Accept** | No public comments received | New amendment added for consistency with Section 1613A.4 |  |
| **5-9** | ***1607A.14.4 ~~1607A.14.5~~*** | **Approve** | **Accept** | No public comments received | Section renumbered. |  |
| **5-10** | **1607*A*.18 Seating for assembly uses.** | **Approve** | **Accept** | No public comments received | Amendment relocated from existing Section 1607A.19. |  |
| **5-11** | **1610*A*.1 Lateral pressures.** | **Approve** | **Accept** | No public comments received | New amendments to clarify language. |  |
| **5-12** | **1613*A*.1 Scope.** | **Approve** | **Accept** | No public comments received | Carry forward existing amendment deleting exceptions. Repeal part of the amendment prohibiting use of ASCE 7 to determine seismic design category. |  |
| **5-13** | **1613A.2 Determination of seismic design category.** | **Approve** | **Accept** | No public comments received | Relocate existing amendments from Section 1613A.2.5. |  |
| **5-14** | ***~~1613A.2.5~~* & ~~1613A.2.5.1~~****~~Tables Tables 1613A.2.3(1)~~ & ~~1613A.2.3(2)~~** | **Approve** | **Accept** | No public comments received | Relocate and repeal existing amendments in the sections and tables deleted in 2024 IBC. |  |
| **5-15** | **1613*A*.3 Simplified design procedure.** | **Approve** | **Accept** | No public comments received | Relocate existing amendment along with the model section. |  |
| **5-16** | **1613A.4** **Ballasted photovoltaic panel systems.** | **Approve** | **Disagree** | No public comments received | Relocate existing amendment along with the model section.**Post CAC:** After the CAC meeting, DSA and OSHPD agreed to show the repealed model language as a continued deletion. |  |
| **5-17** | ***1617A.1 General.*** | **Approve** | **Accept** | No public comments received | Revise the pointer. |  |
| **5-18** | ***1617A.1.1*** ***ASCE 7, Section 1.3.*** | **Further Study Required** | **Accept** | No public comments received | Revise to include wind tunnel tests to the structural design criteria requirements to align with ASCE 7.**CAC:** Criteria 6CAC suggests adding ASCE 49 reference to the end of the sentence.**OSHPD:** Accept and made the change. |  |
| **5-19** | ***1617A.1. 3. Reserved. ~~ASCE 7, Section 11.4.~~*** | **Approve** | **Accept** | No public comments received | Repeal the amendment and reserve the section. |  |
| **5-20** | ***1617A.1.4 ASCE 7, Table 12.2-1.*** | **Approve** | **Accept** | No public comments received | Editorial renumbering and renaming. Revise language regarding moment frames. |  |
| **5-21** | ***1617A.1.5 Reserved.*** | **Approve** | **Accept** | No public comments received | Amendment repealed as it got addressed in ASCE 7-22. |  |
| **5-22** | ***1617A.1.10 ASCE 7, Section 12.3.3.1.*** | **Approve** | **Accept** | No public comments received | Revised to align with ASCE 7-22. |  |
| **5-23** | ***1617A.1.11 ASCE 7, …*** | **Approve** | **Accept** | No public comments received | Revised to align with ASCE 7. |  |
| **5-24** | ***1617A.1.12 ~~Reserved.~~ ASCE 7, Section 12.10.2.1.*** | **Approve** | **Accept** | No public comments received | New amendment to clarify exception. |  |
| **5-25** | ***1617A.1.13 ~~Reserved.~~ ASCE 7, Section 12.13.5.2.*** | **Approve** | **Accept** | No public comments received | New amendment. |  |
| **5-26** | ***1617A.1.14 Reserved.*** | **Approve** | **Accept** | No public comments received | Amendment repealed. |  |
| **5-27** | ***1617A.1.16 ASCE 7, Section 12.13.9.2.*** | **Approve** | **Accept** | No public comments received | Revised amendment for clarification. |  |
| **5-28** | ***1617A.1.17 ASCE 7, Section 13.1.3.*** | **Approve** | **Accept** | No public comments received | Referenced section number revised to align with ASCE 7. |  |
| **5-29** | ***1617A.1.18*** ***ASCE 7, Section 13.1.4.*** | **Approve** | **Disagree** | No public comments received | Header added. Editorial amendments.**OSHPD**: after the CAC, DSA asked OSHPD to remove the “/or” in the title. |  |
| **5-30** | ***1617A.1.19 ASCE 7, Section 13.4*** | **Approve** | **Accept** | No public comments received | Added and revised language. |  |
| **5-31** | ***1617A.1.21 ASCE 7, Section 13.5.6.2.*** | **Approve** | **Accept** | No public comments received | Section revised to add a prescriptive provision for aluminum ceiling. |  |
| **5-32** | ***1617A.1.23 ASCE 7, Section 13.6.2.1.*** | **Approve** | **Accept** | No public comments received | Corrected reference and repealed existing amendments. |  |
| **5-33** | ***1617A.1.26 ASCE 7, Section 13.6.7.3.*** | **Approve** | **Accept** | No public comments received | Revisions to align with ASCE 7-22. Editorial changes. |  |
| **5-34** | ***1617A.1.37 ~~Reserved.~~*** ***~~1617A.1.38~~ ASCE 7, …*** | **Approve** | **Accept** | No public comments received | Section renumbered. |  |
| **5-35** | ***1617A.1.38 ASCE 7, Section 20.3.*** | **Approve** | **Accept** | No public comments received | New section added. |  |
| **5-36** | ***1617A.1.39 …*** | **Approve** | **Accept** | No public comments received | Reference section numbers revised. |  |

### ITEM 6CHAPTER 17 SPECIAL INSPECTION AND TESTS

Adopt 2024 IBC Chapter 17 for OSHPD 1R, 2, 3, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 6** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **6-2** | ***1701.1.2 Amendments in this chapter.*** | **Approve** | **Accept** | No public comments received | Editorial change for clarification and revision to section references. |  |
| **6-3** | ***1701.1.3 Identification of amendments.*** | **Approve** | **Accept** | No public comments received | Editorial to reflect change in organization name. |  |
| **6-4** | **1704.2 Special inspections and tests.** | **Approve** | **Accept** | No public comments received | Editorial change to add reference to all applicable Chapters. |  |
| **6-5** | **1704.3.2 Seismic requirements in the statement of special inspections.** | **Approve** | **Accept** | No public comments received | Editorial change to revise section references. |  |
| **6-6** | **1705.2.1 Structural steel.** | **Approve** | **Accept** | No public comments received | Repeal existing amendments and adopt model with some modifications. |  |
| **6-7** | **1705.2.2 Structural stainless steel.** | **Approve** | **Accept** | No public comments received | New amendments. |  |
| **6-8** | **1705.2.3 Cold-formed steel deck.** | **Approve** | **Accept** | No public comments received | New amendments. |  |
| **6-9** | ***1705.2.4.1 ~~1705.2.3.1~~******1705.2.5.1 ~~1705.2.4.1~~*** | **Approve** | **Accept** | No public comments received | Renumbering and editorial changes. |  |
| **6-10** | ***1705.2.7 ~~1705.2.5~~ Special inspection ~~Inspections~~ and tests of structural welding.*** | **Approve** | **Accept** | No public comments received | Amendment relocated. Added references and revised existing references to align with model code re-organization. Added language. |  |
| **6-11** | ***1705.2.8 ~~1705.2.6~~*** | **Approve** | **Accept** | No public comments received | Renumbered amendment. Revised references. |  |
| **6-12** | ***1705.3.3.1, 1705.3.4 and 1705.3.9*** | **Approve** | **Accept** | No public comments received | Editorial changes to comply with the statutory plain language mandate. |  |
| **6-13** | **1705.4 Masonry construction.** | **Approve** | **Accept** | No public comments received | Added language to require batch plant inspection requirements for grout. |  |
| **6-14** | ***1705A.4.1.1 TMS 602 Section 1.6 Quality Assurance.*** | **Approve** | **Accept** | No public comments received | Added section. |  |
| **6-15** | ***1705.5.4 and 1705.5.5 Structural glued laminated and cross-laminated timber.*** | **Approve** | **Accept** | No public comments received | Editorial amendment to move OSHPD banner. Reference pointer revised. |  |
| **6-16** | **1705.13.1 Structural steel.****1705.14.1 Structural steel.** | **Approve** | **Accept** | No public comments received | Sections and subsections revised to clarify that requirements of CBC are also applicable. Clarified language for exceptions in subsections. |  |
| **6-17** | **1705.14.2** **Nonstructural components.** | **Further Study Required** | **Disagree** | No public comments received | Amendment is revised to include nationally recognized standards. Added clarifying note.**CAC:** Criteria 6CAC suggests “deemed to comply” should be hyphenated.**OSHPD:** Disagree, no change made. |  |
| **6-18** | ***1705.14.3.1*** ***Special seismic certification.*** | **Further Study Required** | **Accept** | No public comments received | Revised section to align with CEC Section 517.4.**CAC:** Criteria 6CAC suggests correcting “provided” **OSHPD:** Accept and made the change. |  |
| **6-19** | **SECTION 1710 OFF-SITE CONSTRUCTION** | **Approve** | **Accept** | No public comments received | New section added. |  |

### ITEM 7CHAPTER 17A SPECIAL INSPECTIONS AND TEST

Adopt 2024 IBC Chapter 17 as Chapter 17A of the 2025 CBC for OSHPD 1 and 4. Carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 7** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **7-2** | ***1701A.3 Special inspections and tests.*** | **Approve** | **Accept** | No public comments received | Added reference to Chapter 14, 15 and 24. |  |
| **7-3** | **1704*A*.2.4 Report requirement.** | **Approve** | **Accept** | No public comments received | Editorial changes to align with revised model code. |  |
| **7-4** | **1704*A*.5 Submittals to the building official.** | **Approve** | **Accept** | No public comments received | Deleted certification requirements for manufacturer’s certificate. |  |
| **7-5** | **1705*A*.2.1 Structural steel.** | **Approve** | **Accept** | No public comments received | Revised to adopt the model code provisions and aligns with current practice |  |
| **7-6** | ***~~TABLE 1705A.2.1~~*** | **Approve** | **Disagree** | No public comments received | Repeal amendment and adopt model.**Post CAC:** OSHPD changed the font to italics and added OSHPD banner to proposed notes. |  |
| **7-7** | ***1705A.2.2 Structural stainless steel.*** | **Approve** | **Accept** | No public comments received | Section revised to clarify requirements of CBC are also applicable. |  |
| **7-8** | **1705*A*.2.3 Cold-formed steel deck.** | **Approve** | **Accept** | No public comments received | Deleted pointers. Added amendment. |  |
| **7-9** | ***1705A.2.4.1 ~~1705A.2.3.1~~* *1705A.2.5.1 ~~1705A.2.4.1~~*** | **Approve** | **Accept** | No public comments received | Revised section numbers and added clarifications. |  |
| **7-10** | ***1705A.2.7 ~~1705A.2.5~~ Special inspections ~~Inspection~~ and tests of structural welding.******1705A.2.8 ~~1705A.2.6~~*** | **Approve** | **Accept** | No public comments received | Editorial changes to keep the sections coordinated. |  |
| **7-11** | **TABLE 1705*A*.3** | **Approve** | **Disagree** | No public comments received | Table is updated to match with new IBC format.**Post CAC:** After the CAC, DSA and OSHPD coordinated minor edits. See the ISOR. |  |
| **7-12** | **1705*A*.3.1 Welding of reinforcing bars.** | **Approve** | **Accept** | No public comments received | Revised pointers. |  |
| **7-13** | ***1705A.3.3.1*** | **Approve** | **Accept** | No public comments received | Editorial amendments. |  |
| **7-14** | **1705*A*.4 Masonry construction.** | **Approve** | **Accept** | No public comments received | Added language to require batch plant inspection requirements for grout. |  |
| **7-15** | ***1705A.4.1.1 TMS 602 Section 1.6 Quality Assurance.*** | **Approve** | **Accept** | No public comments received | Added section to maintain current requirement for inspection. |  |
| **7-16** | **1705*A*.5.1**  | **Approve** | **Accept** | No public comments received | Revised pointers. |  |
| **7-17** | ***1705A.5.5*** | **Approve** | **Accept** | No public comments received | Revised pointers. |  |
| **7-18** | **1705A.13.1 Structural steel.** | **Approve** | **Accept** | No public comments received | Revised subsections to clarify that requirements of CBC are also applicable.  |  |
| **7-19** | ***1705A.13.5.2 Structural sealant glazing.*** | **Approve** | **Accept** | No public comments received | Corrected section reference. |  |
| **7-20** | **1705*A*.14.1 Structural steel.** | **Approve** | **Accept** | No public comments received | Revised subsections to clarify that requirements of CBC are also applicable. |  |
| **7-21** | **1705*A*.14.2** **Nonstructural components.** | **Further Study Required** | **Disagree** | No public comments received | Reference to Section 1704A.5 is deleted. Revised amendment and add a note.**CAC:** Criteria 6CAC suggests “deemed to comply” should be hyphenated.**OSHPD:** Disagree, no change made. |  |
| **7-22** | ***1705A.14.3.1*** | **Approve** | **Accept** | No public comments received | Revised exceptions 1 and 7. |  |
| **7-23** | **SECTION 1710A OFF-SITE CONSTRUCTION** | **Approve** | **Accept** | No public comments received | New section added. |  |

### ITEM 8CHAPTER 18 SOILS AND FOUNDATIONS

Adopt 2024 IBC Chapter 18 for OSHPD 1R, 2, 3, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 8** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **8-2** | ***1801.1.2 Amendments in this chapter.*** | **Approve** | **Accept** | No public comments received | Editorial changes. |  |
| **8-3** | ***1801.1.3 Identification of amendments.*** | **Approve** | **Accept** | No public comments received | Organization name change. |  |
| **8-4** | **1803.2 Investigations required.** | **Approve** | **Accept** | No public comments received | Added OSHPD 1R and 5 applications to the banner. |  |
| **8-5** | **1803.5.4 Groundwater.** | **Approve** | **Accept** | No public comments received | Repealed amendment. |  |
| **8-6** | ***1803.7 Geohazard reports.*** | **Approve** | **Accept** | No public comments received | Exceptions reorganized and revised for clarity.  |  |
| **8-7** | **1807.2 Retaining walls.** | **Approve** | **Accept** | No public comments received | Deleted pointer. |  |
| **8-8** | ***~~1807.2.5 Freestanding cantilever walls.~~*** | **Approve** | **Accept** | No public comments received | Deleted amendment. |  |
| **8-9** | **1808.8.6 Seismic requirements.** | **Approve** | **Accept** | No public comments received | Redundant reference deleted. |  |
| **8-10** | ***1809.15 ~~1809.14~~***  | **Approve** | **Accept** | No public comments received | Revised section number. Revised exception. |  |
| **8-11** | **1810.3.9.4.2.1 Site Classes A through DE.** | **Approve** | **Accept** | No public comments received | Repeal amendment. |  |
| **8-12** | **1810.3.12 Grade beams.** | **Approve** | **Accept** | No public comments received | Repeal amendment. |  |
| **8-13** | ***1812.2 Duration.*** ***1812.5 Construction:*** | **Approve** | **Accept** | No public comments received | Editorial changes for clarity. |  |

### ITEM 9CHAPTER 18A SOILS AND FOUNDATIONS

Adopt 2024 IBC Chapter 18 as Chapter 18A of the 2025 CBC for OSHPD 1 and 4. Carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 9** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **9-2** | ***1803A.6 Geohazard reports.*** | **Approve** | **Accept** | No public comments received | Reorganized exceptions. Name of the CGS Special Publication 42 is revised to match with new name. Removed restrictions. |  |
| **9-3** | **1807*A*.2 Retaining walls.** | **Approve** | **Accept** | No public comments received | Pointer repealed. |  |
| **9-4** | ***~~1807A.2.5 Freestanding cantilever walls.~~*** | **Approve** | **Accept** | No public comments received | Amendment repealed. |  |
| **9-5** | **1807*A.*3 Embedded posts and poles.** | **Approve** | **Accept** | No public comments received | Reference clarified. |  |
| **9-6** | **1809*A*.1 General.** | **Approve** | **Accept** | No public comments received | Revised pointer. |  |
| **9-7** | **1809*A*.14 and *1809A.15 ~~1809A.14~~*** | **Approve** | **Accept** | No public comments received | Revised section number. Revised exception. |  |
| **9-8** | **1810*A*.3.3.1.2, 1810*A*.3.3.1.5 and 1810*A*.3.3.2** | **Approve** | **Accept** | No public comments received | Cyclic test requirements are removed. |  |
| **9-9** | **1810*A*.3.12 Grade beams.** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **9-10** | ***1811A.4 Structural Requirements.*** | **Approve** | **Accept** | No public comments received | Revised section reference. |  |
| **9-11** | ***1812A.2,*** ***1812A.5 and 1812A.7*** | **Approve** | **Accept** | No public comments received | Editorial changes. |  |

### ITEM 10CHAPTER 19 CONCRETE

Adopt 2024 IBC Chapter 19 for OSHPD 1R, 2, 3, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 10** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **10-1** | **Note under chapter title** | **Approve** | **Accept** | No public comments received | Amendment repealed. |  |
| **10-3** | ***1901.1.2*** ***1901.1.3***  | **Approve** | **Accept** | No public comments received | Editorial change. Reorganized sections and sentences. |  |
| **10-4** | ***~~1901.1.4 Amendments.~~*** | **Approve** | **Accept** | No public comments received | Deleted redundant pointer. |  |
| **10-5** | ***1901.3.2 Mechanical anchors …*** | **Approve** | **Accept** | No public comments received | Added note. |  |
| **10-6** | ***1901.3.3 Post-installed adhesive …*** | **Approve** | **Accept** | No public comments received | Editorial change. |  |
| **10-7** | ***1901.3.4 with subsections*** | **Approve** | **Accept** | No public comments received | Reorganized section and subsections. |  |
| **10-8** | **~~1903.2 Special inspections.~~** | **Approve** | **Accept** | No public comments received | Deleted amendment. |  |
| **10-9** | **1903.3** | **Approve** | **Accept** | No public comments received | Section renumbered on the model level.  |  |
| **10-10** | ***~~1903.5 Aggregates~~*** | **Approve** | **Accept** | No public comments received | Repeal amendment to deleted ASTM C33 Appendix. |  |
| **10-11** | ***~~1903.6 Limits on Cementitious Materials.~~*** | **Approve** | **Accept** | No public comments received | Repealed amendment. |  |
| **10-12** | ***1903.4 ~~1903.7~~******1903.5*** ***~~1903.8~~*** | **Approve** | **Accept** | No public comments received | Renumbered sections.  |  |
| **10-13** | **1905.5 and 1905.6** | **Approve** | **Accept** | No public comments received | Relocated amendments. Redundant reference deleted. |  |
| **10-14** | **1906** | **Approve** | **Accept** | No public comments received | Clarified amendment. |  |
| **10-15** | **1908.1 General.** | **Approve** | **Accept** | No public comments received | Existing sections merged. Added reference for clarity. |  |
| **10-16** | ***~~1908.2~~* and *~~1908.3~~*** | **Approve** | **Accept** | No public comments received | Relocated existing sections. |  |
| **10-17** | ***~~1910.3.4 ACI 318, Table 21.2.2.~~*** | **Approve** | **Accept** | No public comments received | Repealed amendment. |  |
| **10-18** | ***1910.3.4 ACI 318, Section 26.11.1.2.*** | **Approve** | **Accept** | No public comments received | Relocated existing amendment. |  |
| **10-19** | ***1911.2 Crack repair by epoxy …*** | **Approve** | **Accept** | No public comments received | Adopt newer standard. |  |

### ITEM 11CHAPTER 19A CONCRETE

Adopt 2024 IBC Chapter 19 as Chapter 19A of the 2025 CBC for OSHPD 1 and 4. Carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 11** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **11-1** | ***~~Note under chapter title~~*** | **Approve** | **Accept** | No public comments received | Amendment repealed. |  |
| **11-3** | **1901*A*.2 Reinforced concrete** | **Approve** | **Accept** | No public comments received | Retain existing amendment. |  |
| **11-4** | **~~1901.2.1~~** | **Approve** | **Accept** | No public comments received | Model code provisions not adopted. |  |
| **11-5** | **1901A.5 Construction documents.** | **Approve** | **Accept** | No public comments received | Deleted reference to plain concrete. |  |
| **11-7** | **~~1903A.2 Special inspections~~** | **Approve** | **Accept** | No public comments received | Repeal amendments in deleted model code section. |  |
| **11-8** | **1903A.3** | **Approve** | **Accept** | No public comments received | Amendment moved in alignment with model section. |  |
| **11-9** | ***~~1903A.5 Aggregates~~*** | **Approve** | **Accept** | No public comments received | Repeal amendment. |  |
| **11-10** | ***~~1903A.6 Limits on cementitious materials.~~*** | **Approve** | **Accept** | No public comments received | Repeal amendment. |  |
| **11-11** | ***1903A.4 ~~1903A.7~~******1903A.5 ~~1903A.8~~*** | **Approve** | **Accept** | No public comments received | Renumbering. |  |
| **11-12** | **1905*A*.1 General.** | **Approve** | **Accept** | No public comments received | Revise pointers. |  |
| **11-13** | **1905*A*.2 ACI 318 Section 2.3.** | **Approve** | **Accept** | No public comments received | Keep deleting model code definitions. |  |
| **11-14** | **1905A.3 ~~Intermediate precast structural walls.~~** | **Approve** | **Accept** | No public comments received | OSHPD does not adopt. Section is reserved for DSA-SS. |  |
| **11-15** | **1905*A*.4.** | **Approve** | **Accept** | No public comments received | Corrected chapter reference. |  |
| **11-16** | **1905A.5 Detailed plain concrete structural walls. ~~1905.5.1~~** | **Approve** | **Accept** | No public comments received | Not permitted by OSHPD. Delete model code language. |  |
| **11-17** | **1905A.6 Structural plain concrete.****~~1905.6.1, 1905.6.2~~** | **Approve** | **Accept** | No public comments received | Not permitted by OSHPD. Delete model code language. |  |
| **11-18** | **1905*A*.7, 1905*A*.7.1 and 1905*A*.7.2** | **Further Study Required** | **Accept** | No public comments received | Add “A” to numbers and editorial amendments.**CAC:** Criteria 6CAC suggests removing the word “section” from Section 1905A.7.2 Exception 2.**OSHPD:** Removed “Section” from the exception. |  |
| **11-19** | **1906*A* *RESERVED.*****~~FOOTINGS FOR LIGHT-FRAME CONSTRUCTION~~** | **Approve** | **Accept** | No public comments received | Reserve this section not adopted by OSHPD. |  |
| **11-20** | **1908*A*.1 General.*****~~1908A.2 Tests and inspections.~~*** | **Approve** | **Accept** | No public comments received | Merge existing sections. Reference is added for clarity. |  |
| **11-21** | ***~~1908A.3~~*** | **Approve** | **Accept** | No public comments received | Language moved to Section 1905A.19. |  |
| **11-22** | **1909A *~~RESERVED~~ MODIFICATIONS TO ACI 318*****1909A.1 through *1909A.1.09 ~~1905A.1.11~~*** | **Further Study Required** | **Accept** | No public comments received | Amendments moved from 1905A to 1909A. Renumber 1905A.1 through 1905A.1.12 to 1909A.1 through 1909A.1.12 throughout the section.**CAC:** Criteria 6CAC suggests coordinate with DSA.**OSHPD:** See ISOR. |  |
| **11-23** | ***1909A.1.10 ~~1905A1.12~~*** | **Approve** | **Disagree** | No public comments received | Revise section to align with ACI 318 and use plain language.**Post CAC:** Sections renumbered. |  |
| **11-24** | ***1909A.1.11 ~~1905A.1.13~~*** | **Approve** | **Disagree** | No public comments received | Repeal section. Reserve for DSA.**Post CAC:** Section renumbered. |  |
| **11-25** | ***1909A.1.12 ~~1905A.1.15~~******1909A.1.13 ~~1905A.1.16~~******1909A.14 ~~1905A.1.17~~*** | **Approve** | **Disagree** | No public comments received | Renumbering.**Post CAC:** ETs are renumbered. |  |
| **11-26** | ***1909A.1.15*** ***ACI 318, Section 26.11.1.2.*** | **Approve** | **Disagree** | No public comments received | Relocate existing section.**Post CAC:** Section renumbered. |  |
| **11-26.1** | ***1909A.1.16*** ***ACI 318, Section 26.12.2.1(a).*** | **Approve** | **Disagree** | No public comments received | Renumbering**Post CAC:** Sections renumbered. |  |
| **11-27** | ***1910A.5, 1910A.5.1, 1910A.5.2, 1910A.5.3, 1910A.5.3.1, 1910A.5.3.2,******1910A.5.4, 1910A.5.5*** | **Approve** | **Accept** | No public comments received | Reorganize section and its subsections for ease of use. Revise language. |  |
| **11-28** | ***1911A.2*** | **Approve** | **Accept** | No public comments received | Revise to adopt new standard. |  |

### ITEM 12CHAPTER 20 ALUMINUM

Adopt 2024 IBC Chapter 20 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 12** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **12-2** | ***2001.1.3*** | **Approve** | **Accept** | No public comments received | Added new section header. |  |
| **12-3** | ***2001.1.4 Reference to other chapters.*** | **Approve** | **Accept** | No public comments received | Added amendment for consistency with other chapters. |  |
| **12-4** | ***2003 and 2003.1 Testing and Inspection.*** | **Approve** | **Accept** | No public comments received | Revise sections. |  |

### ITEM 13CHAPTER 21 MASONRY

Adopt 2024 IBC Chapter 21 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 13** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **13-2** | ***2101.1.2 & 2101.1.3*** | **Approve** | **Accept** | No public comments received | Editorial changes. Language reorganized. |  |
| **13-3** | ***2101.2.2 Prohibition.*** | **Approve** | **Accept** | No public comments received | Add more prohibition items. |  |
| **13-4** | **2103.1 Masonry units.*****2103.6 Specified compressive strength of Masonry and Grout****.* | **Approve** | **Accept** | No public comments received | OSHPD banner added. Existing strength limits consolidated to one section. Format is aligned with TMS 402 Table 4.3.1. |  |
| **13-5** | ***2104.2.2 TMS 602, …*** | **Approve** | **Accept** | No public comments received | Revised section to align with TMS 602. |  |
| **13-6** | ***2104.2.3 TMS 602, , Article*** ***~~3.4 D~~ 3.4 E Anchor bolts.*** | **Approve** | **Accept** | No public comments received | Revise reference section numbers to match with TMS 402/602-22. Revise unit conversion. |  |
| **13-7** | ***~~2104.2.4 TMS 602, …~~*** | **Approve** | **Accept** | No public comments received | Repeal amendment. |  |
| **13-8** | ***2104.2.4 ~~2104.2.5~~*** | **Approve** | **Accept** | No public comments received | Renumber section. Add amendment. |  |
| **13-9** | ***2105.2 Compressive strength*** | **Approve** | **Accept** | No public comments received | Requirements deleted. |  |
| **13-10** | ***2105.3 Mortar and grout tests.*** | **Approve** | **Accept** | No public comments received | Remove some of the testing requirements. |  |
| **13-11** | ***2105.4 Masonry core testing.*** | **Approve** | **Accept** | No public comments received | Editorial changes. |  |
| **13-12** | ***2106.1.1 TMS 402, …*** | **Approve** | **Accept** | No public comments received | Revise to align with changes in TMS 402. |  |
| **13-13** | ***2106.1.2*** | **Approve** | **Accept** | No public comments received | Revise references to align with changes in TMS 402. |  |
| **13-14** | ***2106.1.3*** | **Approve** | **Accept** | No public comments received | Revise section for plain language. |  |
| **13-15** | **2107.1 and 2108.1** | **Approve** | **Accept** | No public comments received | Remove references to deleted sections. |  |
| **13-16** | ***2107.4 Reserved. ~~TMS 402, Section 8.3.7, maximum bar size.~~*** | **Approve** | **Accept** | No public comments received | Remove obsolete amendment and reserve this section. |  |
| **13-17** | ***~~2107.6 Modify TMS 402…~~*** | **Approve** | **Accept** | No public comments received | Remove obsolete amendment. |  |
| **13-18** | ***~~2107.7 and 2108.4~~*** | **Approve** | **Accept** | No public comments received | Delete obsolete amendments. |  |

### ITEM 14CHAPTER 21*A* MASONRY

Adopt 2024 IBC Chapter 21 as Chapter 21A of the 2025 CBC for OSHPD 1 and 4. Carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 14** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **14-2** | ***2101A.1.3 Prohibition.*** | **Approve** | **Accept** | No public comments received | Add more prohibition items. |  |
| **14-3** | ***2103A.3.1 Aggregate.*** | **Approve** | **Accept** | No public comments received | Revise reference section number to match TMS 602. |  |
| **14-4** | ***2103A.6 Specified compressive strength of Masonry and Grout****.* | **Approve** | **Accept** | No public comments received | New section to consolidate language from multiple sections. |  |
| **14-5** | ***2104A.1.3.1 ~~TMS 602, …~~*** | **Approve** | **Accept** | No public comments received | Repeal section and reserve for DSA. |  |
| **14-6** | ***2104A.1.3.3*** | **Approve** | **Accept** | No public comments received | Revise section to align with TMS 602. |  |
| **14-7** | ***2104A.1.3.4 TMS 602, Article*** ***~~3.4 D~~ 3.4 E Anchor bolts.*** | **Approve** | **Accept** | No public comments received | Revise reference section numbers to match with TMS 602-22. |  |
| **14-8** | ***2104A.1.3.5 and 2104A.1.3.6*** | **Approve** | **Accept** | No public comments received | Repeal amendments and reserve sections for DSA. |  |
| **14-9** | ***2104A.1.3.7*** ***Reserved.*** | **Approve** | **Accept** | No public comments received | Repeal amendment. |  |
| **14-10** | ***2104A.1.3.8*** | **Approve** | **Accept** | No public comments received | Added missing language. |  |
| **14-11** | ***2104A.1.3.9*** | **Approve** | **Accept** | No public comments received | Revise section to make language mandatory. |  |
| **14-12** | ***2104A.1.3.10.2***  | **Approve** | **Accept** | No public comments received | Revise amendment to align with TMS 402. |  |
| **14-13** | ***2104A.1.3.10.3*** | **Approve** | **Accept** | No public comments received | Revise reference numbers to match TMS 602. |  |
| **14-14** | ***2104A.1.3.10.4*** | **Approve** | **Accept** | No public comments received | Language clarified to align with TMS 602. |  |
| **14-15** | ***2104A.1.3.10.5*** | **Approve** | **Accept** | No public comments received | Revise section to align with TMS 602. |  |
| **14-16** | ***~~2104A.1.3.10.6 TMS 602, Article 3.5 C Grout pour height.~~*** | **Approve** | **Accept** | No public comments received | Repeal section. |  |
| **14-17** | ***2104A.1.3.11.1*** | **Approve** | **Accept** | No public comments received | Revise section to align with TMS 602. |  |
| **14-18** | ***2104A.1.3.11.2 TMS 602, Article 3.5 B Confinement.*** | **Approve** | **Accept** | No public comments received | Existing amendment partially repealed and new amendments added. |  |
| **14-19** | **2105*A*.1 General.** | **Approve** | **Accept** | No public comments received | Reference corrected. |  |
| **14-20** | ***2105A.2 Compressive strength*** | **Approve** | **Accept** | No public comments received | Delete language. |  |
| **14-21** | ***2105A.3 Mortar and grout tests.*** | **Approve** | **Accept** | No public comments received | Add language to remove requirement for site testing. |  |
| **14-22** | ***2105A.4 Masonry core testing.*** | **Approve** | **Disagree** | No public comments received | Editorial changes.**Post CAC:** DSA and OSHPD further amended the section.  |  |
| **14-23** | ***2106A.1.1*** | **Approve** | **Accept** | No public comments received | Revised section to align with TMS 402. |  |
| **14-24** | ***2106A.1.2*** | **Approve** | **Accept** | No public comments received | Revised section to align with TMS 402. |  |
| **14-25** | ***2106A.1.3 TMS 402, Section 7.3.2.5*** | **Approve** | **Accept** | No public comments received | New section added. |  |
| **14-26** | ***2106A.1.4 ~~2106A.1.3~~*** | **Approve** | **Accept** | No public comments received | Renumber section. Editorial changes. |  |
| **14-26.1** | ***2107A.1***  | **Approve** | **Accept** | No public comments received | Line item added after CAC and ISOR updated. |  |
| **14-27** | ***~~2107A.5 Modify TMS402 …~~*** | **Approve** | **Accept** | No public comments received | Repeal amendment. |  |
| **14-28** | ***~~2107A.6 and 2108A.4~~*** | **Approve** | **Accept** | No public comments received | Repeal amendments. |  |

**ITEM 15
CHAPTER 22 STEEL**

Adopt 2024 IBC Chapter 22 for OSHPD 1R, 2, 3, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 15** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **15-2** | ***2201.1.2 and 2201.1.3*** | **Approve** | **Accept** | No public comments received | Editorial change. Sections and sentences reorganized for consistency. |  |
| **15-3** | ***~~2201.1.4 Amendments~~*** | **Approve** | **Accept** | No public comments received | Deleted amendment with redundant pointer. |  |
| **15-4** | ***2201.4.1 ~~2204.1.1~~*** | **Approve** | **Accept** | No public comments received | Renumber to align with model reorganization. |  |
| **15-5** | ***2201.5.1 ~~2204.4~~ Shear transfer at column ~~Column~~ base plate.*** | **Approve** | **Accept** | No public comments received | Renumber to align with model reorganization, add pointer to ACI 318. Editorial reorganization. |  |
| **15-6** | **2202.1 General.** | **Approve** | **Accept** | No public comments received | Relocate existing amendment. Editorial changes. |  |
| **15-7** | **2202.2.1** | **Approve** | **Accept** | No public comments received | Amendments relocated. |  |
| **15-8** | **2202.2.1.2 Seismic Design …** | **Approve** | **Accept** | No public comments received | Amendment relocated. |  |
| **15-9** | **2202.2.2 Structural steel elements.** | **Approve** | **Accept** | No public comments received | Added amendment to section. |  |
| **15-10** | ***2202.3 ~~2205.3~~ Modifications to AISC 341* and subsections** | **Approve** | **Accept** | No public comments received | Renumber sections and add editorial modifications. |  |
| **15-11** | ***2202.4 ~~2205.4~~ Modifications to AISC 358*** | **Approve** | **Accept** | No public comments received | Renumber sections and its subsections. |  |
| **15-12** | ***~~2205.4.1 Design Requirements~~*** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **15-13** | ***2202.4.1*** | **Approve** | **Accept** | No public comments received | New section to relocate existing amendment. |  |
| **15-14** | ***2202.4.2 ~~2205.4.2~~*** | **Approve** | **Accept** | No public comments received | Renumber and add new exception. |  |
| **15-15** | ***2202.4.3 ~~2205.4.3~~*** | **Approve** | **Accept** | No public comments received | Renumber and revise language. |  |
| **15-16** | ***2202.4.4*** | **Further Study Required** | **Accept** | No public comments received | Add new section.**CAC:** Criteria 6CAC suggests adding commas around the u symbol,**OSHPD:** Accept and made the change. |  |
| **15-17** | ***2202.4.5*** | **Approve** | **Accept** | No public comments received | Add new section. |  |
| **15-18** | **2204.1 General.** | **Approve** | **Accept** | No public comments received | Amendment in existing section is repealed. |  |
| **15-19** | **2204.2 Seismic design.** | **Approve** | **Accept** | No public comments received | Existing amendment relocated. |  |
| **15-20** | **2206.1.1.2, 2206.1.3, 2206.2, 2207.4, *2207.6*, 2208.1, 2214.1, *2216.1*** | **Approve** | **Accept** | No public comments received | Relocated amendments to align with reorganization of chapter. |  |
| **15-21** | ***2216.2 ~~2213.2~~ Tests of end welded studs.*** | **Approve** | **Accept** | No public comments received | Revise section to align with AWS D1.1. |  |

**ITEM 16
CHAPTER 22A STEEL**

Adopt 2024 IBC Chapter 22 as Chapter 22A of the 2025 CBC for OSHPD 1 and 4. Carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 16** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **16-2** | **2201*A*.2** through **2201*A*.5** | **Approve** | **Accept** | No public comments received | Adopt new sections added to 2024 IBC. |  |
| **16-3** | ***2201A.4.1 ~~2204A.1.1~~*** | **Approve** | **Accept** | No public comments received | Renumber to align with model reorganization. |  |
| **16-4** | ***2201A.5.1 ~~2204A.4~~ Shear transfer at column ~~Column~~ base plate*** | **Approve** | **Accept** | No public comments received | Renumber to align with model reorganization, add pointer to ACI 318. Editorial reorganization. |  |
| **16-5** | **2202*A*****2202*A*.1 General.** | **Approve** | **Accept** | No public comments received | Relocate existing exceptions from other section. |  |
| **16-6** | **2202*A*.2 Seismic design.** | **Approve** | **Accept** | No public comments received | Added “A” for correct Chapter reference. |  |
| **16-7** | **2202*A*.2.1** | **Approve** | **Accept** | No public comments received | Relocate existing amendment from other section. |  |
| **16-8** | **2202*A*.2.1.1** | **Approve** | **Accept** | No public comments received | Relocate existing amendment from other section. Delete model language. |  |
| **16-9** | **2202*A*.2.1.2** | **Approve** | **Accept** | No public comments received | Retain existing amendment. |  |
| **16-10** | **2202*A*.2.2 Structural Steel Elements.** | **Approve** | **Accept** | No public comments received | Delete references Seismic Design Categories B and C. Align requirements with other amendments. |  |
| **16-11** | ***2202A.3 ~~2205A.4~~ Modifications to AISC 341. ~~2205A.4.1 Glossary.~~*** | **Approve** | **Accept** | No public comments received | Renumber existing section. Delete definition. |  |
| **16-12** | ***2202A.3.1 ~~2205A.4.2~~*** | **Approve** | **Accept** | No public comments received | Renumber with editorial changes. |  |
| **16-13** | ***2202A.3.2 ~~2205A.4.3~~*** | **Approve** | **Accept** | No public comments received | Renumber. |  |
| **16-14** | ***~~2205A.4.4~~*** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **16-15** | ***~~2205A.4.5~~*** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **16-16** | ***~~2205A.4.6~~*** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **16-17** | ***~~2205A.4.7~~*** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **16-18** | ***~~2205A.4.8~~*** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **16-19** | ***~~2205A.4.9~~*** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **16-20** | ***~~2205A.4.10~~*** | **Approve** | **Accept** | No public comments received | Repeal existing amendment. |  |
| **16-21** | ***2202A.4 ~~2205A.5~~******Modifications to AISN 358*** | **Approve** | **Accept** | No public comments received | Renumber section and subsections. |  |
| **16-22** | ***~~2205A.5.1~~*** | **Approve** | **Accept** | No public comments received | Repeal prohibition on use of bolted moment connections. |  |
| **16-23** | ***2202A.4.1*** | **Approve** | **Accept** | No public comments received | New section to relocate existing amendment. |  |
| **16-24** | ***2202A.4.2 ~~2205A.5.2~~*** | **Approve** | **Accept** | No public comments received | Renumber and add exception. |  |
| **16-25** | ***2202A.4.3 ~~2205A.5.3~~*** | **Approve** | **Accept** | No public comments received | Renumber with additional changes. |  |
| **16-26** | ***2202A.4.4*** | **Further Study Required** | **Accept** | No public comments received | Added new section.**CAC:** Criteria 6CAC suggests adding commas around the u symbol,**HCAI:** Accept and made the change. |  |
| **16-27** | ***2202A.4.5*** | **Approve** | **Accept** | No public comments received | Added new section. |  |
| **16-28** | **2203*A*** and **2203*A*.1** | **Approve** | **Accept** | No public comments received | Adopt new model sections. |  |
| **16-29** | **2204*A*.1** | **Approve** | **Accept** | No public comments received | Existing amendment repealed. Delete pointer. |  |
| **16-30** | **~~2204.2 Seismic design~~** | **Approve** | **Accept** | No public comments received | Model code section not adopted and deleted. |  |
| **16-31** | **~~2204.2.1~~** | **Approve** | **Accept** | No public comments received | Model code section not adopted and deleted. |  |
| **16-32** | **~~2204.2.2~~** | **Approve** | **Accept** | No public comments received | Model code section not adopted and deleted. |  |
| **16-33** | **2205*A*** and **2205*A*.1** | **Approve** | **Accept** | No public comments received | Adopt new model code sections. |  |
| **16-34** | **2206*A*, 2206*A*.1,** and **2206*A*.1.1** | **Approve** | **Accept** | No public comments received | Existing model sections renumbered in 2024 IBC. No change proposed. |  |
| **16-35** | **2206*A*.1.1.1** | **Approve** | **Accept** | No public comments received | Carry forward existing amendment. |  |
| **16-36** | **2206*A*.1.1.2** | **Approve** | **Accept** | No public comments received | Carry forward existing amendment. |  |
| **16-37** | **2206*A*.1.2 Prescriptive framing.** | **Approve** | **Accept** | No public comments received | Carry forward existing amendment. |  |
| **16-38** | **2206*A*.1.3** | **Approve** | **Accept** | No public comments received | Carry forward existing amendment.  |  |
| **16-39** | **2206*A*.2** | **Approve** | **Accept** | No public comments received | Carry forward existing amendment. |  |
| **16-40** | **2206*A*.3 Cutting and notching.** | **Approve** | **Accept** | No public comments received | Adopt new model code section. |  |
| **16-41** | **2207*A*.4 and 2207*A*.6** | **Approve** | **Accept** | No public comments received | Carry forward existing amendments. |  |
| **16-42** | **2208*A* STEEL DECK** | **Approve** | **Accept** | No public comments received | Adopt new model code section. |  |
| **16-43** | **2208*A*.1** | **Approve** | **Accept** | No public comments received | Relocated existing amendment. |  |
| **16-43.1** | **2209*A*.1 & 2209A.2 & 2209A.3 Note** | **Further Study Required** | **Accept** | No public comments received | Relocated existing amendment.**CAC:** Criteria 6CAC suggests correcting “is” to “are” removing the Note in 2209A.3**HCAI:** Accept and made the changes.  |  |
| **16-44** | **2210*A* through 2213*A*** | **Approve** | **Accept** | No public comments received | Adopt new model code sections and subsections. |  |
| **16-45** | **2214*A*.1** | **Approve** | **Accept** | No public comments received | Carry forward existing amendment. |  |
| **16-46** | ***~~2213A~~ 2216A*** | **Approve** | **Accept** | No public comments received | Renumber section and subsections. |  |
| **16-47** | ***2216A.1*** ***~~2213A.1~~* and** ***2216A.2 ~~2213A.2~~*** | **Approve** | **Accept** | No public comments received | Renumber and revise to align with AWS D1.1. Add exemption. |  |

**ITEM 17
CHAPTER 23 WOOD**

Adopt 2024 IBC Chapter 23 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 17** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **17-2** | ***2301.1.2 and 2301.1.3*** | **Approve** | **Accept** | No public comments received | Editorial changes. |  |
| **17-3** | ***2301.1.4 ~~2301.1.3~~*** and subsections | **Approve** | **Accept** | No public comments received | Renumber section and subsections. |  |
| **17-4** | ***2301.1.5 ~~2301.1.4~~ Prohibition.*** | **Approve** | **Accept** | No public comments received | Renumber and revise pointer. |  |
| **17-5** | ***2303.1.4.1 Additional requirements.*** | **Approve** | **Accept** | No public comments received | Editorial change for consistency in terminology. |  |
| **17-6** | ***2305.1.3 ~~2305.1.2~~*** | **Approve** | **Accept** | No public comments received | Renumber and revise pointer. |  |
| **17-7** | **2308.2 and *2308.2.8 ~~2308.2.7~~*** | **Approve** | **Accept** | No public comments received | Renumber and revise pointers. |  |

**ITEM 18
CHAPTER 24 GLASS AND GLAZING**

Adopt 2024 IBC Chapter 24 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 18** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **18-2** | ***2401.1.2 Amendments in this …*** | **Approve** | **Accept** | No public comments received | Editorial amendments for clarifications. |  |
| **18-3** | ***2410.1.3 Monitoring.*** | **Approve** | **Accept** | No public comments received | Editorial amendments for use of plain language. |  |

**ITEM 19
CHAPTER 25 GYPSUM PANEL PRODUCTS AND PLASTER**

Adopt 2024 IBC Chapter 25 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 19** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **19-2** | ***2501.1.2 Amendments in this …*** | **Approve** | **Accept** | No public comments received | Editorial amendments for clarifications. |  |
| **19-3** | ***2503.2*** | **Approve** | **Accept** | No public comments received | Editorial amendments for use of plain language. |  |

**ITEM 20
CHAPTER 26 PLASTIC**

Adopt the 2024 International Building Code Chapter 26 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 without amendments. Repeal all existing OSHPD amendments in this chapter.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 20** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **20-1** | ***~~2601.1.1, 2601.1.2, 2603.11.1, 2603.12.3, 2603.13.3~~*** | **Approve** | **Accept** | No public comments received | Repeal all OSHPD amendments.  |  |

### ITEM 21CHAPTERS 27, 28 AND 29

OSHPD does not adopt 2024 IBC Chapters 27, 28 and 29.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 21** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **21-1** | **CHAPTERS 27, 28 and 29** | **Approve** | **Accept** | No public comments received | OSHPD does not adopt Chapters 27, 28 and 29. |  |

### ITEM 22CHAPTER 30 ELEVATORS AND CONVEYING SYSTEMS

Adopt 2024 International Building Code Chapter 30 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing amendment without modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 22** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **22-1** | **Chapter 30** | **Approve** | **Accept** | No public comments received | Adopt Chapter 30 and carry forward existing amendments without modifications. |  |

### ITEM 23CHAPTER 31 SPECIAL CONSTRUCTION

Adopt the 2024 International Building Code Chapter 31 for OSHPD 1, 1R, 2, 3, 4, 5 and 6. Add new amendment as follows.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 23** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **23-1** | **3115 INTERMODAL** **SHIPPING CONTAINERS** | **Approve** | **Accept** | No public comments received | Add new amendment to clarify applicability. |  |

### ITEM 24**CHAPTER 31D FOOD ESTABLISHMENTS**

OSHPD does not adopt Chapter 31D.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 24** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **24-1** | **Chapter 31D** | **Approve** | **Accept** | No public comments received | OSHPD does not adopt Chapters 31D |  |

### ITEM 25CHAPTER 32 ENCROACHMENTS INTO THE PUBLIC RIGHT OF WAY

Adopt 2024 IBC Chapter 32 for OSHPD 1 and 4 without modification.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 25** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **25-1** | **Chapter 32** | **Approve** | **Accept** | No public comments received | Adopt Chapter 32 for OSHPD 1 and 4. |  |

### ITEM 26CHAPTER 33 SAFEGUARDS DURING CONSTRUCTION

Adopt 2024IBC Chapter 33 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 without modification.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 26** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **26-1** | **Chapter 33** | **Approve** | **Accept** | No public comments received | Adopt Chapter 33 for OSHPD 1, 1R, 2, 3, 4, 5 and 6. |  |

### ITEM 27CHAPTER 35 REFERENCED STANDARDS

Adopt 2024 IBC Chapter 35 for OSHPD 1, 1R, 2, 3, 4, 5 and 6 and carry forward existing 2022 CBC amendments with the following modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 27** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **27-1** | ***ACI 355.2 - ~~19~~ 22******ACI 355.4—19 (21):******ACI 440.2R-~~08~~ 17:******~~ACI 503.7—07:~~******ACI 506.2-13 (18):******ACI 506.4R – ~~94~~ 19:******ACI 506.6T—17:******ACI 548.15-20:*** | **Approve** | **Accept** | No public comments received | Update reference standards to align with changes in other chapters and propose editorial modifications. |  |
| **27-2** | **ANSI/AISC 358—22:** | **Approve** | **Accept** | No public comments received | Editorial updates. |  |
| **27-3** | **ASCE/SEI 7-2022*****ASCE/SEI 37-2017******ASCE/SEI 41-2013******ASCE/SEI 41-2023*** | **Approve** | **Accept** | No public comments received | Update reference standards to align with changes in other chapters and propose editorial modifications.  |  |
| **27-4** | ***ASHRAE 171-2027*** | **Approve** | **Accept** | No public comments received | Added new ASHRAE standard. |  |
| **27-5** | **ASTM A615/A615M - ~~20~~ *22*:****ASTM A706/A706M- ~~2016~~ *22a*:****~~ASTM A722/A722M - 20~~*~~15:~~*****ASTM A722/A722M - 2018:*****ASTM A1064 - ~~17~~ 22:******ASTM C618 – ~~15~~ 23e1*****~~ASTM C635/C635M -~~ *~~13a~~*~~:~~****ASTM C635/C635M – ~~2017~~ *22*:*****ASTM C989—~~16e1~~ 22:******ASTM C1019 - ~~16~~ 20:******ASTM C1249—18 (2023):******ASTM C1401 - ~~14~~ 23:******ASTM C1586 - ~~05(2011)~~ 20:******ASTM C1823/C1823M – 20:******ASTM D1586 - ~~20~~ 18e1:******ASTM D3966 - ~~07(2013)~~ 22:******ASTM E580/E580M – ~~17~~ 22:******ASTM F606/F606M - ~~16~~ 21:*** | **Approve** | **Accept** | No public comments received | Update reference standards to align with changes in other chapters and propose editorial modifications. |  |
| **27-6** | ***ANSI/AWC NDS-2024:*** | **Approve** | **Accept** | No public comments received | Update edition of the supplement. |  |
| **27-7** | ***AWS B5.1 - 2013-AMD1:******AWS D1.1/D1.1M – ~~15~~ 20:******AWS D1.3/D1.3M - ~~08~~ 2018:*****AWS D1.4/D1.4M - 2018-AMD1:*****AWS D1.6/D1.6M – 2017:******AWS D1.8/D1.8M - ~~2016~~ 2021:******AWS QC1 - 2016:*** | **Approve** | **Accept** | No public comments received | Update reference standards to align with changes in other chapters and propose editorial modifications. |  |
| **27-8** | ***FM 1950 - ~~2016~~ 2022:*** | **Approve** | **Accept** | No public comments received | Update reference standard edition. |  |
| **27-9** | ***ICC 1200-2021:******ICC 1205-2021:*****ICC 300—~~2017~~*23*:*****ICC-ES AC 01 - ~~21~~ 24\*\*:******ICC-ES AC 58 - ~~21~~ 24\*\*:******ICC-ES AC 70 - ~~21~~ 24\*\*:******ICC-ES AC 106 - ~~21~~ 24\*\*:******ICC-ES AC 125 - ~~21~~ 24\*\*:******ICC-ES AC 156 - ~~21~~ 24\*\*:******ICC-ES AC 178 - ~~21~~ 24\*\*:******ICC-ES AC 193 - ~~21~~ 24\*\*:******ICC-ES AC 232 - ~~21~~ 24\*\*:******ICC-ES AC 308 - ~~21~~ 24\*\*:******ICC-ES AC 358 - ~~21~~ 24\*\*:******ICC-ES AC 446*** ***- ~~21~~ 24\*:*** | **Approve** | **Accept** | No public comments received | Update reference standards to align with changes in other chapters. |  |
| **27-10** | ***~~FEMA P-2082—1~~*** | **Approve** | **Accept** | No public comments received | Repeal referenced standard. |  |
| **27-11** | ***PCI MNL 120—17:*** | **Approve** | **Accept** | No public comments received | Revise referenced sections. |  |

### ITEM 28APPENDICES A, B, C, D, E, F, G, H, I, and J

OSHPD does not adopt Appendices A, B, C, D, E, F, G, H, I and J of the 2024 IBC.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 28** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **28-1** | **Appendices A through J** | **Approve** | **Accept** | No public comments received | OSHPD does not Appendices A through J. |  |

### ITEM 29**APPENDIX K ADMINISTRATIVE PROVISIONS**

OSHPD does not adopt Appendix K of the 2024 IBC.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 29** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **29-1** | **Appendix K** | **Approve** | **Disagree** | No public comments received | OSHPD does not adopt Appendix K of the 2024 IBC. Carry forward existing 2022 CBC amendment Appendix K into the 2025 CBC for OSHPD 2**Post CAC:** HCAI is correcting the ET and ISOR to clarify OSHPD does not adopt the CA version of Appendix K.  |  |

### ITEM 30APPENDIX L EARTHQUAKE RECORDING INSTRUMENTATION

Adopt 2024 IBC Appendix L for OSHPD 1 and 4 and carry forward existing amendments without modifications.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 30** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **30-1** | **Appendix L** | **Approve** | **Accept** | No public comments received | Adopt Appendix L for OSHPD 1 and 4 and carry forward existing amendments without modifications. |  |

### **ITEM 31APPENDICES** M, N, O, and P

OSHPD does not adopt Appendices M, N, O and P of the 2024 IBC.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **OSHPD 05/24ITEM 31** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| **31-1** | **Appendices M, N, O and P** | **Approve** | **Accept** | No public comments received | OSHPD does not adopt Appendices M, N, O and P |  |