INITIAL EXPRESS TERMS

FOR

# PROPOSED BUILDING STANDARDS

OF THE

DIVISION OF THE STATE ARCHITECT – STRUCTURAL SAFETY (DSA-SS)

REGARDING THE CALIFORNIA GREEN BUILDING STANDARDS CODE (CALGreen)

CALIFORNIA CODE OF REGULATIONS (CCR), TITLE 24, PART 11

LEGEND FOR EXPRESS TERMS - Existing California amendments or code language being modified are in italics when they appear in the model code text: All such language appears in italics, modified language is underlined. - Repealed text: All such language appears in strikeout.

INITIAL EXPRESS TERMS

The Division of the State Architect (DSA) proposes to amend the 2013 edition of the California Green Building Standards Code (CGBSC) for the 2015 Triennial Code Cycle. Amended text is as follows:

ITEM NUMBERS LISTED BELOW:

- DSA proposes to amend Chapter 1, Section 105.1.

. . .

CHAPTER 1

ADMINISTRATION

…

SECTION 105

DIVISION OF THE STATE ARCHITECT

…

105.1.1 Application - Public elementary and secondary schools and community colleges. New building construction and related site work on a new or existing site, additions to existing buildings or site facilities, and landscape work per the scoping requirements of Section 301.4.

Note: The Application of Standards outlined in Title 24, Part 6 supersedes the above application as it applies to the California Energy Code.

. . .

- DSA proposes to amend Chapter 3, Section 301 as it relates to the DSA scoping requirements.

…

CHAPTER 3

GREEN BUILDING

SECTION 301

GENERAL

…

301. Scope. Buildings shall be designed to include the green building measures specified as mandatory in the application checklists contained in this code. Voluntary green building measures are also included in the application checklists and may be included in the design and construction structures covered by this code, but are not required unless adopted by a city, county, or city and county as specified in Section 101.7.

…

301.4  Mandatory measures for Ppublic schools and community colleges. [DSA-SS] Newly constructed buildings on new or existing sites shall comply with Chapter 5. Additions to existing buildings, newly constructed landscape work, and rehabilitated landscape work shall comply with Chapter 5, Section 5.304.6, Outdoor Water Use.  Facilities shall be designed to comply with Sections 301.4.1 through 301.4.4

301.4.1 New building construction and related new site work on new or existing sites shall comply with Chapter 5.

301.4.1.1 A new building at an existing site greater than 1,600 square feet in floor are shall comply with Section 301.4.4.

301.4.2 Additions to existing buildings greater than 1,600 square feet work shall comply with Section 301.4.4.

Exception: All existing irrigated landscape areas in full compliance with Section 5.304.6.

    - Newly constructed and rehabilitated landscape projects on existing sites shall comply with Section 5.304.6.

301.4.1301.4.4 Minimum rehabilitated landscape area requirement for existing sites. [DSA-SS] A minimum rehabilitated landscape area equal to 75 percent of the footprint area of a the new building or an addition to an existing building shall be provided and comply with Section 5.304.6 and Section 5.107.2.

Exceptions:

- The addition to an existing building is less than 1,600 square feet in floor area.

- The entire existing site’s irrigated landscape areas are in full compliance with Section 5.304.6.

- The new building or addition to an existing building is to be partially or entirely constructed on an existing irrigated landscape or turf lawn area which is not in compliance with the current MWELO requirements and is equal or greater than the minimum rehabilitated landscape area requirement of Section 301.4.1.

301.4.5 Additions to an existing parking facility, exceeding 5% of the total square footage, shall comply with Section 5.107.1.

301.4.6 Voluntary measures for public schools and community colleges [DSA-SS]. Appendix A5, Nonresidential Voluntary Measures, is provided as a guideline to further encourage sustainability building practices that improve public health, safety and general welfare by promoting the use of building concepts which minimize the building’s impact on the environment, promote a more sustainable design and high-performance educational facilities.

301.4.6.1 The optional provisions of Appendix A5, Divisions A5.1 through A5.5, outline means of achieving enhanced construction levels by incorporating additional measures that exceed the mandatory code.

301.4.6.2 Compliance forms, worksheets and reference material.  Refer to Chapter 8 for applicable mandatory measures’ reference material.

Note: The building commissioning standard outlined in the California Energy Code is a mandatory measure; refer to Chapter 8 for resource information. The measures outlined in the California Green Building Standards, Chapter 5, Section 5.410.2 for Commissioning and Section 5.410.4 for Testing and Adjusting are not adopted as mandatory measures by the DSA and are voluntary measures. These optional standards which exceed the California Energy Code’s commissioning requirements are verification practices that are encouraged and recommended to ensure performance, comfort, system durability, reliability, indoor air quality, and efficiency.

…

SECTION 306 (DSA-SS)

VOLUNTARY MEASURES

306.1 Purpose.  For public schools and community colleges, Appendix A5, Nonresidential Voluntary Measures, is provided as a guideline to further encourage building practices that improve public health, safety and general welfare by promoting the use of building concepts which minimize the building’s impact on the environment, promote a more sustainable design and high-performance educational facilities.

306.1.1 The optional provisions of Appendix A5, Divisions A5.1 through A5.5, outline means of achieving enhanced construction levels by incorporating additional measures that exceed the mandatory code.

306.1.2  The measures outlined in Chapter 5, Section 5.410.2 for Commissioning and Section 5.410.4 for Testing and Adjusting are not adopted as mandatory standards by the DSA; however, are referenced here as optional verification practices that are encouraged and recommended to ensure performance, comfort, system durability, reliability, indoor air quality, and efficiency.

…

- DSA proposes to adopt new section requiring shade tree plantings at public school and community colleges to reduce the effects of heat islands, save energy in educational facilities, and create mature landscaped campuses known to improve student test scores.

…

CHAPTER 5.1

PLANNING AND DESIGN

…

5.107 Shade trees. [DSA-SS] For public schools and community colleges, shade trees shall be installed to comply with Sections 5.107.1 and 5.107.2. Percentages shown shall be measured at high noon on the spring equinox. Landscape irrigation shall be installed to establish and maintain tree health in accordance with Section 5.304.6.

5.107.1 Uncovered parking areas. Shade trees with a minimum planting size of a #10 container or equal shall be interspersed so that in 15 years 50 percent of the total square footage will be in shade.

5.107.2 Campus landscape and hardscape areas. Shade trees with a minimum planting size of a #10 container or equal shall be interspersed so that in 15 years 20 percent of the total square footage area will be in shade.

Exception: Playfields containing areas of sport activity.

Notes:

1. Hardscape areas include open playground and gathering spaces and exclude walkways and covered hardscape areas; and along with playfields, would not be included in the total square footage area.

2.The Landscape Architecture department at the University of Illinois at Urbana-Champaign has published a study which documents that classrooms with a view of trees improve student performance. www.http://landarch.illinois.edu.

- DSA proposes to co-adopt Section 5.106 for Electrical Vehicle infrastructure.

…

Electrical Vehicles

Section 5.106

SITE DEVELOPMENT

      - Electric vehicle (EV) charging. [N] Construction shall comply with Section 5.106.5.3.1 or Section 5.106.5.3.2 to facilitate future installation of electric vehicle supply equipment (EVSE). When EVSE(s) is/are installed, it shall be in accordance with the California Building Code, the California Electrical Code and as follows:

        - Single charging space requirements. [N]  When only a single charging space is required per Table 5.106.5.3.3, a raceway is required to be installed at the time of construction and shall be installed in accordance with the California Electrical Code. Construction plans and specifications shall include, but are not limited to, the following:

          - The type and location of the EVSE.

          - A listed raceway capable of accommodating a 208/240-volt dedicated branch circuit.

          - The raceway shall not be less than trade size 1”

4. The raceway shall originate at a service panel or a subpanel serving the area, and shall terminate in close proximity to the proposed location of the charging equipment and into a listed suitable cabinet, box, enclosure or equivalent.

5. The service panel or subpanel shall have sufficient capacity to accommodate a minimum 40-amprere dedicated branch circuit for the future installation of the EVSE.

        - Multiple charging space requirements. [N] When multiple charging spaces are required per Table 5.106.5.3.3 raceway(s) is/are required to be installed at the time of construction and shall be installed in accordance with the California Electrical Code. Construction plans and specifications shall include, but are not limited to, the following:

          - The type and location of the EVSE.

          - The raceway(s) shall originate at a service panel or a subpanel(s) serving the area, and shall terminate in close proximity to the proposed location of the charging equipment and into listed suitable cabinet(s), box(es), enclosure(s) or equivalent.

          - Plan design shall be based upon 40-amprere minimum branch circuits.

          - Electrical calculations shall substantiate the design of the electrical system, to include the rating of equipment and any on-site distribution transformers and have sufficient capacity to simultaneously charge all required EVs at its full rated amperage.

          - The service panel or subpanel(s) shall have sufficient capacity to accommodate the required number of dedicated branch circuit(s) for the future installation of the EVSE.

        - EV charging space calculation. [N] Table 5.106.5.3.3 shall be used to determine if single or multiple charging space requirements apply for the future installation of EVSE.

Exceptions: On a case-by-case basis where the local enforcing agency has determined EV charging and infrastructure is not feasible based upon one or more of the following conditions:

          - Where there is insufficient electrical supply.

          - Where there is evidence suitable to the local enforcing agency substantiating that additional local utility infrastructure design requirements, directly related to the implementation of Section 5.106.5.3, may adversely impact the construction cost of the project.

Table 5.106.5.3.3

| Total number of actual parking spaces | Number of required spaces |
| --- | --- |
| 0-9 | 0 |
| 10-25 | 1 |
| 26-50 | 2 |
| 51-75 | 4 |
| 76-100 | 5 |
| 101-150 | 7 |
| 151-200 | 10 |
| 201 and over | 6 Percent of total 1 |

1. Calculation for spaces shall be rounded up to the nearest whole number.

        - [N] Identification. The service panel or subpanel(s) circuit directory shall identify the reserved overcurrent protective device space(s) for future EV charging as “EV CAPABLE”. The raceway termination location shall be permanently and visibly marked as “EV CAPABLE.”

        - [N] Future charging spaces qualify as designated parking as described in Section 5.106.5.2 Designated parking.

Notes:

- The California Department of Transportation adopts and publishes the California Manual on Uniform Traffic Control Devices (California MUTCD) to provide uniform standards and specifications for all official traffic control devices in California.  Zero Emission Vehicle Signs and Pavement Markings can be found in the New Policies & Directives number 13-01.  www.dot.ca.gov/hq/traffops/policy/13-01.pdf.

- See Vehicle Code Section 22511 for EV charging spaces signage in off-street parking facilities and for use of EV charging spaces.

- The Governor’s Office of Planning and Research published a Zero-Emission Vehicle Community Readiness Guidebook which provides helpful information for local governments, residents and businesses.  www.opr.ca.gov/docs/ZEV_Guidebook.pdf.

…

- DSA proposes to co-adopt the revisions made by the CBSC during the 2016 Intervening Code Cycle for Section 5.303 Water conserving fixtures and fittings, Showerheads.

DSA is proposing to amend the showerhead flow rate to align with the California Energy Commission’s 2015 Appliance Efficiency Standards for showerheads which will restrict the sale and installation of showerheads with a flow rate greater than 1.8 gpm @ 80 psi on or after July1, 2018. Amending CALGreen for showerheads to align with Title 20 during the 2016 Intervening Code Adoption Cycle will allow this provision to become effective on the same day as the Title 20 efficiency standards, and thus maintain consistency between both regulations.

5.303.3.2 Urinals….

5.303.3.3 Showerheads.

5.303.3.3.1 Single showerhead. Showerheads shall have a maximum flow rate of not more than 2.0 1.8 gallons per minute at 80 psi. Showerheads shall be certified to the performance criteria of the U.S. EPA WaterSense Specification for Showerheads.

5.303.3.3.2 Multiple showerheads serving one shower. When a shower is served by more than one showerhead, the combined flow rate of all showerheads and/or other shower outlets controlled by a single valve shall not exceed 2.0 1.8 gallons per minute at 80 psi, or the shower shall be designed to allow only one shower outlet to be in operation at a time.

Note: A hand-held shower shall be considered a showerhead.

5.303.3.4 Faucets and fountains…

- DSA proposes to co-adopt the revisions made by the CBSC during the 2016 Intervening Code Cycle for Section 5.106.8, Light Pollution. Statement of specific purpose, problem, rationale and benefits:

- DSA is proposing to clarify the language addressing Light Pollution Reduction by referencing the lighting zones tables found in the California Energy Code Part 6 (which now include lighting zone 0) and the specific code section found in Part 6.

- DSA is proposing to make changes to the IES requirement by clarifying that the use of the IES standard only applies to Backlight, and not to Uplight and Glare. This amendment is needed since the California Energy Code establishes the required values for Uplight and Glare. For ease of the code user, BSC is providing tables for the IES Backlight values in Chapter 8 of this code.

- DSA is proposing to add a new item to reference the California Energy Code Backlight and Glare tables which will be added to Chapter 8 of this code.

- Existing item is renumbered from 3 to 4 and an [N] was added to the table reference, to match the title for Table 5.106.8 [N].

- TABLE 5.106.8 was amended to include a lighting zone zero column and an acronym LZ (lighting zone) was added to align with the California Energy Code tables. Additionally, footnote 1 was amended to repeal lighting zone 5 which does not appear in the California Energy Code and/or Chapter 10 of the California Administrative Code.

- A note has been added to reference Chapter 8 for the IES and Energy code lighting level ratings tables referenced in this code.

- These proposed code amendments will provide clarity and convenience for the code user by clarifying the applicability of the lighting level requirements and by providing the California Administrative Code and/or California Energy Code lighting level tables in Chapter 8 of the CALGreen code.

SECTION 5.106
SITE DEVELOPMENT

…

5.106.8 Light pollution reduction. [N] Outdoor lighting systems shall be designed and installed to comply with the following:

- The minimum requirements in the California Energy Code for Lighting Zones 01  -4 as defined in Chapter 10,  Section 10-114 of the California Administrative Code; and

- Backlight, Uplight and Glare (BUG) ratings as defined in IES TM-15-11(shown in TABLE A-1 in chapter 8);

- Uplight and Glare ratings as defined in California Energy Code (shown in TABLES 130.2-A and 130.2B in chapter 8) and

4. Allowable BUG ratings not exceeding those shown in Table 5.106.8 [N], or

Comply with a local ordinance lawfully enacted pursuant to Section 101.7, whichever is more stringent.

Exceptions: [N]

- Luminaires that qualify as exceptions in Section 140.7 of the California Energy Code.

Emergency lighting.

- Building facade meeting the requirements in Table 140.7-B of the California Energy     Code, Part 6.

- Custom lighting features as allowed by the local enforcing agency, as permitted by Section 101.8 Alternate materials, designs and methods of construction

Note: [N] See also California Building Code, Chapter 12, Section 1205.6 for college campus lighting requirements for parking facilities and walkways.

TABLE 5.106.8 [N]
MAXIMUM ALLOWABLE BACKLIGHT, UPLIGHT AND GLARE (BUG) RATINGS1,2

| ALLOWABLE RATING | LIGHTING ZONE LZ0 | LIGHTING ZONE LZ1 | LIGHTING ZONE LZ2 | LIGHTING ZONE LZ3 | LIGHTING ZONE LZ4 |
| --- | --- | --- | --- | --- | --- |
| Maximum Allowable Backlight Rating3 ( B) |  |  |  |  |  |
| Luminaire greater than 2 mounting heights (MH) from property line | N/A | No Limit | No Limit | No Limit | No Limit |
| Luminaire back hemisphere is 1 – 2 MH from property line | N/A | B2 | B3 | B4 | B4 |
| Luminaire back hemisphere is 0.5 – 1 MH from property line | N/A | B1 | B2 | B3 | B3 |
| Luminaire back hemisphere is less than 0.5 MH from property line | N/A | B0 | B0 | B1 | B2 |
| Maximum Allowable Uplight Rating (U) |  |  |  |  |  |
| For area lighting4 | N/A | U0 | U0 | U0 | U0 |
| For all other outdoor lighting, including decorative luminaires | N/A | U1 | U2 | U3 | U4 |
| Maximum Allowable Glare Rating5 (G) |  |  |  |  |  |
| Luminaire greater than 2 MH from property line | N/A | G1 | G2 | G3 | G4 |
| Luminaire front hemisphere is 1 – 2 MH from property line | N/A | G0 | G1 | G1 | G2 |
| Luminaire front hemisphere is 0.5 – 1 MH from property line | N/A | G0 | G0 | G1 | G1 |
| Luminaire back front hemisphere is less than 0.5 MH from property line | N/A | G0 | G0 | G0 | G1 |

- IESNA Lighting Zones 0 and 5 are not applicable; refer to Lighting Zones as defined in the California Energy Code and Chapter 10 of the California Administrative Code.

- ...

- …

- …

- …

Note: Refer to Chapter 8 (Compliance Forms, Worksheets and Reference Material) for IES TM-15-11 Table A-1, California Energy Code Tables 130.2-A and 130.2-B.

. . .

ITEM 7. DSA proposes to stike the language and tables of Chapter 8 in their entirety and refer to these resource materials in Chapter 3 in proposed note in Section 301.4.6.

…

Notation

Authority:  Education Code Sections 17280—17317 and 81130--81147.

References:  Education Code Sections 17310 and 81142.